Procedure for Grant of Long Term Open Access

In accordance with the

Maharashtra Electricity Regulatory Commission

(Transmission Open Access) Regulations, 2016 and First  Amendment Regulation 2019

Prepared by

STATE TRANSMISSION UTILITY

MAHARASHTRA STATE ELECTRICITY TRANSMISSION COMPANY LIMITED

TABLE OF CONTENTS

1.	OUTLINE	3

2.	GRANT OF LONG TERM OPEN ACCESS	4

3.	FLEXIBILITY TO CHANGE POINT OF CONNECTION	7

4.	CANCELLATION OF LONG TERM OPEN ACCESS	8

5.	ALLOTMENT PRIORITY	8

6.	SCHEDULING OF LONG TERM OPEN ACCESS TRANSACTION	8

7.	RELINQUISHING OF ACCESS RIGHTS	9

8.	METERING AND COMMUNICATION	10

9.	GENERAL	11

APPLICATIONS AND FORMATS	12

Procedure for Grant of LONG TERM OPEN ACCESS to InSTS

- OUTLINE

  - This Procedure is in accordance with the various provisions of the “Maharashtra Electricity Regulatory Commission (Transmission Open Access) Regulations, 2016 hereinafter referred to as “the Regulations”. This procedure is to be read in conjunction with the Regulations.

  - This Procedure shall apply to the Applications made for Long Term Open Access (LTOA) to the transmission lines or associated facilities of the intra-State transmission system (InSTS), received by the State Transmission Utility (STU) on or after the date notified by the Commission of coming into force of the Regulations.

  - The nodal agency for grant of LTOA shall be the STU i.e. Maharashtra State Electricity Transmission Company Limited.

  - LTOA is the right to use the InSTS for any period exceeding Seven Years .

  - Before applying for LTOA, the applicant should be already connected to the system or shall have a valid Grid Connectivity either from STU or CTU, for both point of injection and for point of drawal.

  - Where capacity is available in the Intra-State Transmission System, the Nodal agency shall consider applications for Open Access on a “first come, first served” basis. Where two or more applications are received on the same day an application for longer duration shall take precedence over an application for a shorter duration of access to the Intra-State Transmission System. Provided that two or more applications for the same duration of access received on the same day shall be treated pari passu for allotment of transmission capacity rights and in case of insufficient available capacity to accommodate all applications, the applicants shall be allotted a pro rata share in the available capacity proportionate to the capacities applied for. If the applications are sent through Post, then the date of receipt of application to the office of nodal agency shall be considered as the date of application.

  - After receipt of application, any material change either in timeframe, drawl/injection point or change in quantum of power by 10 % shall require submission of a fresh application and the already made application shall stand disposed-off and its application fees forfeited. The new application shall be processed in accordance to the regulations.

  - Where transmission capacity rights have been allotted to an applicant in accordance with the Regulations, the applicant shall, to the extent of the transmission capacity rights so allotted and subject to the limitations specified in the Regulations and in the State Grid Code, rank pari passu with all other Transmission System Users as regards access to the Intra-State Transmission System of the Transmission Licensee.

  - Applicant shall enter into a Bulk Power Transmission Agreement (BPTA) with STU for access to and use of the Intra-State Transmission System of the STU, once the Access is granted. In case the Access is granted on the InSTS of a transmission licensee other than STU, a Tripartite Agreement shall be executed between Applicant, STU and the concerned Transmission Licensee.

  - On expiry of the period of the Long-term Open Access, on written request from the consumer, at least SIX months before expiry of the access period, the Nodal Agency shall extend the access period as specified by the consumer. In case, no application is received by the consumer within specified time limit, the Long Term Open Access shall stands terminated up to the initial sanctioned date of expiry. In case of extension of the access period, the consumer shall amend the already submitted agreements, bank guarantees and Letter of credit etc. before expiry of the initial expiry period of access.

- GRANT OF LONG TERM OPEN ACCESS

  - The application for Grant of Long Term Open Access to InSTS should be submitted in a sealed envelope with “Application for Grant of LTOA” clearly marked on the envelope. The application shall be addressed to:

The Chief Engineer (STU)

Maharashtra State Electricity Transmission Company Ltd.

4th Floor, A-Wing, Prakashganga,

E-Block, Plot No. C-19,

Bandra Kurla Complex, Bandra (E),

Mumbai – 400 051.

Maharashtra.

Fax: 022-2659 1222.

  - The application for Grant of Long Term Open Access to InSTS shall be made as per the application format for connectivity (FORMAT: A – 3) and shall contain details such as, Point of Injection and Drawal of power, Details of PPA, quantum of power to be injected and drawn, status of project i.e. existing/proposed/under-construction, timelines for completion of the project, period for which open access is required along with dates, etc. The application shall be accompanied by an Affidavit as per the FORMAT: AFFIDAVIT – 2.

  - Application fees are to be paid through DD or directly credited to MAHATRANSCO Account electronically through RTGS (Real-time gross settlement) as per details given below:

- Payee: Maharashtra State Electricity Transmission Company Ltd.

- Name of Bank : Bank of Maharashtra

- Branch : Andheri (East), Mumbai 400069

- IFSC : MAHB0000311

- A/c No. : 60418650017

  - Provided that proof of payment directly credited to above MAHATRANSCO account must be attached with the application. The Demand Draft shall be in favour of Maharashtra State Electricity Transmission Company Ltd. payable at Mumbai.

  - If at the time of application the quantum of power is not firmed up and when the augmentation of the transmission system is required for granting Open Access, the applicant shall specify the quantum of power to be interchanged with through the transmission network along with the point of Injection and Point of Drawal.

  - The exact Point of Injection or Point of Drawal, as the case may be, shall have to be firmed up and accordingly notified to the nodal agency at least 3 years prior to the intended date of availing Long-term Open Access, or such time period estimated by State Transmission Utility for augmentation of the transmission system, whichever is lesser, to facilitate such augmentation.

  - In case of transmission network augmentation is required to facilitate the Long Term Open Access as a part of STU Plan, the concerned transmission licensee shall endeavor all the efforts to commission such augmentation as per the stipulated schedule of completion. However, in case of delay in commissioning of such augmentation due to any reason beyond the control of the concerned transmission licensee, the applicant and their beneficiaries shall not claim any type of damages and/or compensation from the nodal agency and the concerned transmission licensee.

  - The Application shall be accompanied by a non-refundable processing fee of Rs. 2.0 Lakhs (Two Lakh Rupees Only) per application as specified in the Regulations. An applicant shall submit a Bank Guarantee of Rs.10,000/- (Ten Thousand Rupees Only) per MW of power to be transmitted along with the application. In case of Renewable Energy Projects, the Bank Guarantee shall be of Rs. 5,000/- (Five Thousands Only) per MW of power to be transmitted. The Bank Guarantee shall be as per FORMAT: BG – 2, in favour of “Maharashtra State Electricity Transmission Company Limited”. The bank guarantee shall be valid till the execution of BPTA / operationalization of the Long Term Open Access, when the augmentation of transmission system is required / not required respectively.

  - In the case of Inter-State Generating Stations owned by the Central Government or Ultra Mega Power Projects coming up through the initiative of the Central Government, allocation of power to various beneficiaries as notified by it, and the Intra-State Generating Stations owned by the State government, then the applicant shall not be required to submit Bank Guarantee (BG) with the application form. The applicant shall submit the copy of PPA or notification from the Govt. of India/Maharashtra as the case may be, to the nodal agency, 3 years prior to the intended date of commencement of Open Access.

  - The Bank Guarantee may be encashed by the Nodal Agency if:

- The applicant withdraws the application.

- The long term access rights are relinquished prior to the operationalization of such long term access in case, augmentation is transmission system is not required.

- Applicant fails to furnish the details of Point of Injection or Point of Drawal as the case may be, 3 years prior to the intended date of Long Term Open Access.

  - An incomplete Application, and/or an Application not found to be in conformity with these Procedures and Regulations, shall be rejected.

  - The following documents are to be submitted along with the application for grant of LTOA:

- Copy of PPA or Sale/Purchase Agreement (with power purchase rate mentioned)

- If projects are already connected to the system, document certifying physical interconnection with the InSTS or distribution system.

- Certificate from the concerned Transmission/Distribution Licensee towards existence of infrastructure necessary for 15 minute time-block-wise energy metering and accounting in accordance with the provisions of State grid code in force.

- Certificate from the concerned SLDC towards Real Time Visibility of generation.

- Certificate towards Commercial Operation Date (COD) prior scheduling date or commencement date of access (in case of existing projects).

- If the projects are not presently connected either to InSTS or distribution system, document confirming commissioning of physical interconnection with InSTS or distribution system before intended date of availing Open Access. This document shall be certified by the concerned Transmission/Distribution Licensee.

- If the point of injection and/or drawal is within distribution system, consent from the concerned Distribution Licensee.

  - In case, the injection and/or drawal point is with the ISTS network i.e. to the network of CTU or any other transmission licensee holding license from CERC) and the applicant intends to use InSTS, the proposal shall be processed as per CERC Regulations and respective amendments. The consent shall be issued within 10 working days from the date of receipt of the application or date of receipt of all the required documents, mentioned at clause 2.6 above. In such case, consent from the concerned STU and copy of application made to CTU for LTOA is to be submitted along with the application.

  - The application for grant of Long Term Open Access shall be processed in consultation and co-ordination with the concerned transmission and/or distribution licensee and the applicant shall be intimated about grant of the access within 120/180 working days in case of any augmentation of transmission network is not required / required respectively, from the date receipt of application and/or receipt of all the required documents.

  - The nodal agency i.e. STU (MSETCL), shall carry out System Studies of InSTS to examine the adequacy of the transmission network corresponding to the time frame of commencement of long term access to effect the desired transaction of power on long term basis, using Available Transfer Capacity (ATC).

  - The nodal agency may change system strengthening requirements identified for a particular applicant project on the basis of any subsequent study carried out on its own motion or on another application for LTOA, with the purpose of optimum utilization of the transmission system or to conserve limited right-of-way, and in such event, the changes carried out by the nodal agency shall be intimated to the applicant, or any other person associated with the LTOA. Provided that the optimized system shall not work to the disadvantage of the applicant.

  - The letter towards Grant of Long Term Open Access issued by STU shall be as per                   FORMAT: LTOA – 1. In this letter the details viz. Point of Injection, Point of Drawal, Date of commencement and end of Access, required dedicated transmission infrastructure and/or augmentation of transmission network (identified through System Studies), estimate of tentative transmission charges to be paid by the applicant and Letter of Credit amount to be submitted to STU, along with other terms and conditions.

  - It is mandatory that within 60 days from the date of grant of LTOA, the applicant shall sign a Bulk Power Transmission Agreement (BPTA) with STU. In case, the transmission network of transmission licensee other than STU is being utilized, a tripartite BPTA shall be executed between Applicant, STU and the concerned transmission licensee. The format BPTA will be as per BPTA-1 / BPTA – 2, in case transmission system strengthening required/not required respectively.

  - Applicant shall furnish Letter of Credit as per FORMAT: LC – 2, equivalent to estimated transmission charges of TWO months, 30 days before commencement of LTOA period. The Letter of Credit shall be in favour of “Maharashtra State Electricity Transmission Company Limited”. The said letter of credit shall be valid for the total period of access up to TWO (2) months after to the expiry date of LTOA. The estimated average transmission charges would be reviewed every six months/LTOA period whichever is less and accordingly the amount of Letter of Credit would be enhanced/reduced by the applicant.

- FLEXIBILITY TO CHANGE POINT OF CONNECTION

  - A Long Term consumer may change the point of injection and/or drawal twice in a year subject to the results of system impact studies to be carried out by the STU at the behest of such consumers. The application shall be considered only if the rights of the other existing consumers are not adversely affected.

  - The application by the existing open access consumer for change of point of injection and/or drawal shall be submitted to STU 03 months in advance, before implementation of such change.

  - The 2nd change of point of injection/drawal would be considered only after lapse of six months from the fists change being made effective.

  - The change of point of injection/drawal shall be considered only if there is no change in quantum of power to be transacted under Open Access.

  - For the change in point of injection/drawal, the open access consumer shall apply to STU along with the processing fee as per clause no. 2.1, 2.2, 2.5 and 2.8

- CANCELLATION OF LONG TERM OPEN ACCESS

  - If due to any reason, the open access is not availed by the applicant within ONE year from the date of commencement of the access, STU shall encash the Bank Guarantee and the LTOA granted shall stands cancelled. In such case, if required, the applicant shall apply afresh for the grant of LTOA which shall be processed as per the regulations.

  - In case, if there is delay in utilizing the LTOA, the applicant may intimate the STU about the same along with the reasons for such delay, however, such delay shall not be more than ONE year from the date of commencement of access. In such case, 10 % of bank guarantee per month shall be encashed by the STU. If the delay persists till ONE year from the date of commencement of access, the LTOA shall be cancelled as per clause No. 3.1 above.

  - For any other reasons such as non-payment of the charges applicable under the provisions of the regulations, the application and the access shall be cancelled as per clause no. 3.1 above.

  - In case of cancellation of the access or application, the applicant may apply afresh which shall be processed according to the provisions of the Regulations.

  - Before cancellation of the access or application, the applicant shall be intimated to submit the compliance and if the compliance not found satisfactory, the application or access shall be cancelled.

- ALLOTMENT PRIORITY

  - A distribution licensee shall have highest priority in allotment of open access irrespective of type of open access.

  - The priority of grant of Long Term Open Access shall be followed by the distribution licensee applicants and shall be preceded by the Medium Term Open Access Applicants.

  - When the capacity requirement projected by an applicant is more than the available transmission capacity and the said applicant is not able to limit his requirement to the available capacity, the request of applicant having next lower priority shall be taken up for consideration.

- SCHEDULING OF LONG TERM OPEN ACCESS TRANSACTION

  - The scheduling jurisdiction and procedure, curtailment and revision of schedule of LTOA transactions, metering, energy accounting and accounting of (Unscheduled Interchange) UI charges shall be as per the Regulations and the Indian Electricity Grid Code, as amended from time to time. While scheduling on day-ahead basis, long-term access customers would have the highest priority, followed by medium term customers and then followed by short-term customers.

  - All the generating plants (irrespective of installed capacity) and bulk consumers (having load above 1 MW) shall have to be scheduled by the concerned SLDC. However, the Renewable Energy generating projects, being identified as ‘Non-firm power’ by the commission, shall be governed by the provisions for scheduling laid down by the Commission time to time.

  - Underutilization of transmission capacity:

In case it is observed by SLDC that the LTOA customer request for scheduling is consistently (for more than 5 days) lower than the capacity granted by the Nodal Agency (i.e. STU), SLDC may issue a notice to such LTOA customer asking the reasons for such under-utilization. The LTOA customer shall furnish the reasons for such under-utilization and will provide such details like the reduced requirement, likely period, etc. by the following day. The un-utilized transfer capability will then be released for scheduling of Short-term open access transaction. No refund of transmission charges shall be made due to such curtailment.

- RELINQUISHING OF ACCESS RIGHTS

  - A long-term customer may relinquish the long-term access rights fully or partly before the expiry of the full term of long-term access, by making payment of compensation for stranded capacity as follows:-

- Long Term Access Consumer who has availed access rights at least for 12 years:

- Notice of one (1) year – If such a customer submits an application to the STU at least 1 (one) year prior to the date from which such customer desires to relinquish the access rights, there shall be no charges.

- Notice of less than one (1) year – If such a customer submits an application to the STU at any time lesser than a period of 1 (one) year prior to the date from which such customer desires to relinquish the access rights, such customer shall pay an amount equal to 66% of the estimated transmission charges (net present value) for the stranded transmission capacity for the period falling short of a notice period of one (1) year.

- Long Term Access Consumer who has not availed access rights at least for        12 years:

- Notice of one (1) year – If such a customer submits an application to the STU at least 1 (one) year prior to the date from which such customer desires to relinquish the access rights, such customer shall pay an amount equal to 66% of the estimated transmission charges (net present value) for the stranded transmission capacity for the period falling short of 12 (twelve) years of access rights.

- Notice of less than one (1) year – If such a customer submits an application to the STU at any time lesser than a period of 1 (one) year prior to the date from which such customer desires to relinquish the access rights, such customer shall pay an amount equal to 66% of the estimated transmission charges (net present value) for the period falling short of a notice period of one (1) year, in addition to 66% of the estimated transmission charges (net present value) for the stranded transmission capacity for the period falling short of 12 (twelve) years of access rights.

  - The discount rate that shall be applicable for computing the net present value as referred to above shall be the discount rate to be used for bid evaluation in the Commission’s Notification issued from time to time in accordance with the Guidelines for Determination of Tariff by Bidding Process for Procurement of Power by Distribution Licensees issued by the Ministry of Power.

  - The compensation paid by the long-term customer for the stranded transmission capacity shall be used for reducing transmission charges payable by other long-term customers and medium-term customers in the year in which such compensation payment is due in the ratio of transmission charges payable for that year by such long-term customers and medium-term customers.

  - Once relinquish request has been accepted by STU, an intimation of LTOA for the reduced power shall be issued and the same shall be informed to Applicant, concerned SLDC and CTU. Any increase thereafter, either in timeframe or quantum shall require submission of a fresh application which shall be processed according to the regulations.

- METERING AND COMMUNICATION

  - It is mandatory on the applicant to install Special Energy Meters capable of time differentiated measurements for time-block-wise active energy and voltage differentiated measurement of reactive energy in accordance with State Grid Code.

  - All the Open Access consumers shall abide by the metering standards of CEA and all the interface points and/or metering points in the Intra-State Transmission System shall comply with the State Metering Code. In case such interface and/or metering points are not defined in the State Metering Code shall be defined by the SLDC to facilitate State Energy Accounting for the State.

  - The Open Access Consumer shall ensure visibility of generation to SLDC for real time monitoring and on-line communication of energy meter data for energy accounting.

  - The Special Energy Meters and RTU-DC shall be open for inspection by any person authorized by the nodal agency and/or SLDC.

  - The Open Access consumer shall bear the cost towards Special Meters, on-line communication of data & Visibility of generation to SLDC.

- GENERAL

  - LTOA applicant shall keep in view that it takes about 9 months for pre-investment activities and in addition construction time for the transmission project as given in the MERC (Transmission Open Access) Regulation - 2016. Therefore, Applicant should expedite the finalization the point of injection or point of drawal and intimate to STU. The date of commencement of LTOA shall be applicable from at least 3 years and 9 months (9 months time required for project preparation and investment approval) from the finalization of power seller/buyer.

  - The applicant shall keep the nodal agency and SLDC indemnified at all times and shall undertake to indemnify, defend and keep the nodal agency and SLDC harmless from any and all damages, losses, claims and actions including those relating to injury to or death of any person or damage to property, demands, suits, recoveries, costs and expenses, court costs, attorney fees, and all other obligations by or to third parties, arising out of or resulting from the long-term access transaction.

  - All costs/expenses/charges associated with the application, including bank draft, bank guarantee, letter of credit etc. shall be borne by the applicant.

  - The applicant shall abide by the provisions of the Electricity Act, 2003, the Regulations and Indian Electricity Grid Code, as amended from time to time.

  - This procedure aims at easy and pragmatic disposal of applications made for Medium Term Open Access in InSTS. However, some teething problems may still be experienced. The various implications would be known only after practical experience is gained by way of implementing these procedures. In order to resolve the same, this procedure shall be reviewed or revised by the Nodal agency with prior approval of MERC.

  - All complaints regarding unfair practices, delays, discrimination, lack of information, supply of wrong information or any other matter related to Medium-term Open access in InSTS shall be directed to MERC for redressal.

- APPLICATIONS AND FORMATS

AFFIDAVIT – 2

On Non Judicial Stamp paper of Rs.100/-

AFFIDAVIT

In the matter of filing application to Maharashtra State Electricity Transmission Company Ltd., for grant of Medium Term Open Access/Long Term Access under MERC (Transmission Open Access) Regulations 2016.

I……(Name)……S/o Shri ……(Father’s name)… working as ……. (Post)……. in ……(name of the Company)………..,having its registered office at ……… (address of the company)…….., do solemnly affirm and say as follows:

- I am the ….. (Post)……. of …..(Name of the Company)………, the representative in the above matter and am duly authorized to file the above application and to make this affidavit.

- I submit that M/s……..(name of the company)……. is a registered company …….(Public Ltd/Pvt. Ltd.)……. Registered under Companies Act. Under the Article of Association of the Company and in accordance with the provisions of Electricity Act, 2003/relevant Regulation(s) of MERC, the company can file the enclosed application.

- I submit that all the details given in the enclosed application for grant of Medium Term Open Access/Long Term Access along with necessary documents are true and correct and nothing material has been concealed thereof.

(Signature)

Name of the Applicant

Date:

Place:

(To be duly attested by Notary)

FORMAT: A – 2

APPLICATION FOR GRANT OF LONG TERM OPEN ACCESS

| 1 | Name of the applicant applying for Medium Term Open Access on intra-state transmission system |  |
| --- | --- | --- |
| 2 | Address for correspondence |  |
| 3 | Details of Authorized Contact Person for communication |  |
|  | Name |  |
|  | Designation |  |
|  | Phone Number |  |
|  | Mobile Number |  |
|  | Fax Number |  |
|  | E-Mail ID |  |
|  | Details of Authorized Contact Person for Scheduling |  |
|  | Name |  |
|  | Designation |  |
|  | Phone Number |  |
|  | Mobile Number |  |
|  | Fax Number |  |
|  | E-Mail ID |  |
| 4 | Nature of Applicant |  |
|  | Normal Generator (other than Captive) |  |
|  | Captive Generator |  |
|  | Bulk Consumer |  |
|  | Electricity Trader |  |
|  | Others |  |
| 5 | Quantum and Period for Medium Term Open Access |  |
|  | Quantum (MW) for which LTOA is required |  |
|  | Date from which LTOA is required |  |
|  | Date up to which LTOA is required |  |
|  | Time Block for LTOA |  |
|  | Total Period of LTOA |  |
| 6 | Details for Injection of Power |  |
|  | Total Installed Capacity (MW) |  |
|  | Project location, Taluka, District |  |
|  | Specify Status of project i.e. Existing / Proposed / Under-construction |  |
|  | Specify whether the project is connected to Transmission system or Distribution system |  |
|  | Name of the transmission/Distribution licensee to which project is connected |  |
|  | Name of the Sub-Station or Line to which project is connected |  |
|  | In case, if the project is connected to the network of distribution licensee, name of EHV Sub-Station to which distribution system is connected |  |
|  | Attach SLD from Point of Injection up to EHV Sub-Station |  |
| 7 | Details of Drawal of Power |  |
|  | Total Quantum of Power to be drawn (MW) |  |
|  | Specify Status of project i.e. Existing / Proposed / Under-construction |  |
|  | Specify whether the project is connected to Transmission system or Distribution system |  |
|  | Name of the transmission/Distribution licensee to which project is connected |  |
|  | Name of the Sub-Station or Line to which project is connected |  |
|  | In case, if the project is connected to the network of distribution licensee, name of EHV Sub-Station to which distribution system is connected |  |
|  | If the consumer is already a customer of distribution licensee, attach copy of latest electricity bill | Attached |
|  | Attach SLD from Point of Drawal up to EHV Sub-Station |  |
|  | Whether Open Access is for PARTIAL or FULL Load (In case of Partial load, attach copy of consent from concerned distribution licensee) |  |
|  | Details of alternate arrangements in case of absence of Generation |  |
| 8 | If dedicated transmission system for connecting generating plant is proposed or under-construction, specify the time frame required for completion of the same (which should not be prior to date of commencement of LTOA) |  |
| 9 | If dedicated transmission system for connecting bulk power drawal is proposed or under-construction, specify the time frame required for completion of the same (which should not be prior to date of commencement of LTOA) |  |
| 10 | Enclose Progress report certified by the concerned transmission licensee |  |
| 11 | Particulars of PPA/Contracts |  |
|  | For Power Purchase: Executed between ----(Name of Seller)------ and ----(Name of Buyer)-----. | From Date: To Date: Total Period: _______ (Months) |
|  | For Balancing and Mismatch Power requirements: Executed between ----(Name of Seller)------ and ----(Name of Buyer)-----. |  |
| 18 | Processing Fee Transaction Details |  |
|  | Bank Draft for Application Processing Fee |  |
|  | Name of Bank |  |
|  | Demand Draft No. & Date |  |
|  | Amount in Rs. | Rs.2,00,000/- (In words: Two Lakhs Rupees only) |
|  | Payable at Bank |  |
|  | If payment made through NEFT, enclosed copy of receipt | Receipt No: Date: |

It is hereby certified that:

- For the transactions, utilities (including buyer, seller and trader) shall abide by the provisions of the MERC (Transmission Open Access) Regulations, 2016 and/or MERC (Distribution Open Access) Regulations, 2016 as the case may be and its amendment from time to time.

- The buyer and seller have entered into commercial agreement for the proposed transaction. Payment of the Long/Medium Term Open Access charges (if not paid) shall be made by me.

- The applicant hereby agrees to keep ….. (Name of the Transmission licensee)..… indemnified at all times and undertakes to indemnify, defend and save the …… (name of the Transmission licensee)…… harmless from any and all damages, losses, claims and actions relating to injury to or death of any person or damage to property, demands, suits, recovering costs and expenses, court costs, attorney fees, and all obligations by or to third parties, arising out of or resulting from the transactions under his approval.

- We shall execute the Bulk Power Transmission Agreement (BPTA) and submit Bank Guarantee & Letter of Credit after receiving the approval from the ….. (Name of the Transmission licensee)..… with in the 60 days failing which ….. (Name of the Transmission licensee)..… has right to cancel the approval without any further notice.

- ……. (Insert in case of Intra-state Trader)……..  has a valid license (ref. no issued by and valid up to ) for Intra-state Trading and will abide by MERC (Trading Licence Conditions) Regulations, 2004 and its amendment from time to time.

- ……. (Insert in case of Inter-state Trader)…….. has a valid license (ref. no issued by and valid up to) for Inter-state Trading and will abide by CERC (Procedure, Terms and Conditions for grant of trading license and other related matters) Regulations, 2009 and its amendment from time to time.

Place: 								Name:

Date:								Signature of the Applicant

Designation:

Seal:

On the letter head of STU 						FORMAT: LTOA – 1

Intimation for Grant of Long Term Open Access (LTOA)

M/s. ……… (Name of Applicant)………….

Address: ……………………………………………

……………………………………………

Kind Attn: Shri. ………(Name of Contact Person)………..

Sub: Grant of Long Term Open Access to M/s. …..( Name of Applicant)……. for …… MW Power in

InSTS.

Ref : 1. M/s. ……….. Application No. ………., dtd. ………………, for grant of LTOA.

------------------------------------

Nature of Applicant:

Normal Generator (Other than Captive)

Captive Generator

Bulk Consumer

Electricity Trader

Details of Long Term Open Access:

Quantum (MW) of Power for which LTOA is granted:

Date from which LTOA is granted:

Date up to which LTOA is granted:

Point of Injection Details:

Name of the Generator:

Total Installed Capacity:

Project Location (Site, Taluka, District):

Name of the Transmission Licensee to which project is connected:

Point of Injection (Name of Sub-Station/Line of Transmission Licensee):

Quantum of Power (MW) to be injected for LTOA:

Point of Drawal Details:

Name of Consumer:

Total Installed Capacity of Load:

Project Location (Site, Taluka, District):

Name of the Transmission Licensee to which project is connected:

Point of Injection (Name of Sub-Station/Line of Transmission Licensee):

Quantum of Power (MW) to be injected for LTOA:

List of Documents submitted by the Applicant are…

- …………………………………………………..

- …………………………………………………..

- …………………………………………………..

- …………………………………………………..

The Long Term Open Access shall be governed by the:

- Indian Electricity Act. 2003.

- Indian Electricity Grid Code December 2005

- MERC (Transmission Open Access) Regulation – 2016.

- MERC (State Grid Code) Regulations 2006 - Part B, Part C, Part D and Part F.

- Amendments in regulations if any, issued by the appropriate commission at any time.

Details of Additional Documents to be submitted by the Applicant within 60 days from the date of this letter:

- Bulk Power Transmission Agreement (BPTA) executed between Applicant, STU and the concerned Transmission Licensee.

Details of Additional Documents to be submitted by the Applicant before 30 days from the date of commencement of LTOA:

- Letter of Credit of Rs….. Lakhs (In Words: ………) in favour of Maharashtra State Electricity Transmission Company Limited.

Effective date of Letter of Credit: …. (Specify Date of commencement of LTOA)….

Validity date of Letter of Credit: ….( Specify a Date TWO month before expiry of LTOA)…..

Further, it is to inform you that if you fail to submit the above mentioned documents before the prescribed dates, this grant of LTOA shall stand cancelled as per the provisions of the regulations.

Thanking you.

Yours Faithfully,

Chief Engineer

State Transmission Utility

Format :BG-2

PROFORMA OF BANK GUARANTEE FOR

PERFORMANCE

(To be stamped in accordance with Stamp Act)

Ref. ………………………. 				Bank Guarantee No. ……………

Date ……………………..

To

M/s. Maharashtra State Electricity Transmission Company Limited,

Chief Engineer (State Transmission Utility),

“Prakashganga”, 5th Floor, A-wing,

Plot N. C-19, E-Block,

Bandra Kurla Complex,

Bandra (East),

Mumbai – 400 051.

Dear Sirs,

In consideration of the Maharashtra State Electricity Transmission Company Limited, (hereinafter referred to as the “MSETCL” which expression shall unless repugnant to the context or meaning thereof include its successors, administrators and assigns) having signed an agreement No……………………..dated………………….with LONG TERM TRANSMISSION CUSTOMER (Name of Customer ……………………….. with its Registered/Head office at …………………………….(hereinafter referred to as the “LTOA CUSTOMER ” which expression shall unless repugnant to the context or meaning thereof, include its successors, administrators, executors and assigns)

WHEREAS it has been agreed by the LTOA customer in the said Agreement that in case of failure /delay to construct the generating station /dedicated transmission system or makes an exit or abandon its project by LTOA CUSTOMER, MSETCL shall have the right to collect the transmission charges and or damages considering the total estimated capital investment to be made by MSETCL for total scheduled injection by LTOA CUSTOMER for an amount which shall be equivalent to the amount calculated based on the scheduled MW capacity of the project @Rs. ……….Lakh/MW to compensate such damages.

AND WHEREAS as per the aforesaid agreement LTOA customer is required to furnish a Bank Guarantee for a sum of Rs……….(Rupees……..) as a security for fulfilling its commitments to MSETCL as stipulated under Clause 05 of the said Agreement.

We………………………………………………………………………………………

(Name & Address of the Bank)

having its Head Office at…………………………….(hereinafter referred to as the “Bank”, which expression shall, unless repugnant to the context or meaning thereof, include its successors, administrators, executors and assigns) do hereby guarantee and undertake to pay the MSETCL on demand any and all monies payable by the LTOA CUSTOMER to the extent of …………………………………………………………………..as aforesaid at any time upto ………………**………………………………(days/month/year) without any demur, reservation, context, recourse or protest and/or without any reference to the LTOA CUSTOMER.

Any such demand made by the MSETCL on the Bank shall be conclusive and binding not withstanding any difference between the MSETCL and the LTOA CUSTOMER or any dispute pending before any Court, Tribunal, Arbitrator or any other authority. The Bank undertakes not to revoke this guarantee during its currency without previous consent of the MSETCL and further agrees that the guarantee herein contained shall continue to be enforceable till the MSETCL discharges this guarantee.

The MSETCL shall have the fullest liberty without affecting in any way the liability of the Bank under this guarantee, from time to time to extend the time for performance of the obligations under the said agreement by the LTOA CUSTOMER. The MSETCL shall have the fullest liberty, without affecting this guarantee, to postpone from time to time the exercise of any powers vested in them or of any right which they might have against the LTOA CUSTOMER, and to exercise the same at any time in any manner, and either to enforce or to forbear to enforce any covenants, contained or implied, in the Agreement between the MSETCL and the LTOA CUSTOMER or any other course or remedy or security available to the MSETCL. The Bank shall not be released of its obligations under these presents by any exercise by the MSETCL of its liberty with reference to the matters aforesaid or any of them or by reason of any other act of omission or commission on the part of the MSETCL or any other indulgences shown by the MSETCL or by any other matter or thing whatsoever which under law would, but for this provision have the effect of relieving the Bank.

The Bank also agrees that the MSETCL at its option shall be entitled to enforce this Guarantee against the Bank as a principal debtor, in the first instance without proceeding against the LTOA CUSTOMER and not withstanding any security or other guarantee the MSETCL may have in relation to the LTOA CUSTOMER‟s liabilities.

Notwithstanding anything contained hereinabove our liability under this guarantee is restricted to ………..and it shall remain in force upto and including ……………..and shall be extended from time to time for such period (not exceeding ……….. year), as may be desired by M/s …………….on whose behalf this guarantee has been given.

Dated this…………….day of ………………20………………….at…………………

WITNESS

…………………………………………. ………………………………………………

(Signature) 								(Signature)

………………………………………….. ………………………………………………

(Name)									 (Name)

…………………………………………... ………………………………………………

(Official Address)					 (Designation with Bank Stamp)

Attorney as per Power

of Attorney No. ……………….

Date ..………………………….

NOTES:

1. The stamp papers of appropriate value shall be purchased in the name of issuing Bank.

FORMAT: LC – 2

SPECIMEN OF INLAND IRREVOCABLE REVOLVING DOCUMENTARY LETTER OF CREDIT

Name of the Bank		:-

Name of the Branch	:-

Address 			:-

Fax No			:-

Phone No			:-

BENEFICIARY COPY

| BENEFICIARY | : | CHIEF ENGINEER (STU), MAHARASHTRA STATE ELECTRICITY TRANSMISSION CO. LTD., (MSETCL), PRAKASHGANGA, C-19, E-BLOCK, BANDRA KURLA COMPLEX, BANDRA (EAST), MUMBAI 400 051. MSETCL STU POOL A/C NO. 016020110000004 IN BANK OF INDIA, MUMBAI LARGE CORPORATE BRANCH. |
| --- | --- | --- |
| OPENERS | : | Name of the Transmission System User Address :- |
| INLAND IRREVOCABLE REVOLVING DOCUMENTARY LETTER OF CREDIT NO. | : |  |
| ISSUING DATE | : |  |
| EXPIRY DATE | : |  |
| ADVISING BANK | : | BANK OF INDIA, MUMBAI LARGE CORPORATE BRANCH , L.C.SECTION, 70/80, M. G. ROAD, FORT, MUMBAI – 400 023. (IFS CODE BKID0000160) |
| LC RESTRICTED FOR NEGOTIATION WITH ADVISING BANK. THE NEGOTIATING BANK SHOULD CERTIFY THAT THE TERMS OF CREDIT HAVE BEEN FULFILLED AND PRESENT THE DOCUMENTS DIRECTLY TO US AND CLAIM REIMBURSEMENT FROM BANK _____________, BRANCH________ (NAME OF THE ISSUING BRANCH). |  |  |

AUTHORISED SIGNATORY			  AUTHORISED SIGNATORY

We have pleasure in advising you that we have established an Inland Irrevocable REVOLVING Documentary Letter of Credit in your favour (i.e. BENEFICIARY as mentioned above)  on account of the openers, named above for a sum not exceeding Rs. _________(RUPEES IN WORDS) available by beneficiary invoice for Intra State Transmission System charges at sight accompanied by the following documents.

| DOCUMENTS REQUIRED |  |
| --- | --- |
| 1 | Monthly Invoice for Intra State Transmission System charges |
|  | The |

Negotiating Bank (i.e. Advising Bank Branch) must send the original documents to (Name of the Bank) ___________ (Name of the Branch) ________ (i.e. Issuing Bank) by Registered Mail, and certify that presentation is in accordance with the terms of this credit.  We hereby engage with the drawers, endorsers and bonafide holder that the said monthly Invoices for Intra State Transmission System charges shall be duly honoured on sight. Except as otherwise expressly stated, this credit is subject to uniform customs and practice for documentary credits (2007 Revision) international chamber of commerce Publication  no.600 (“UCP”).

SPECIAL INSTRUCTION:

Letter of Credit will be for Rs. ___________ (Rs. in words) revolving once in a month.

GENERAL

- The opening, maintenance and negotiation charges of INLAND IRRECOVABLE REVOLVING DOCUMENTARY LETTER OF CREDIT shall be borne by the openers (i.e. Transmission System).

- Chief Engineer (STU), Maharashtra State Electricity Transmission Company Ltd. will certify the correctness of the monthly Invoice for Intra State Transmission System charges.

- Chief Engineer (STU), Maharashtra State Electricity Transmission Company Ltd. (MSETCL) shall submit invoice for monthly for Intra State Transmission System charges for 100% amount in duplicate with a certificate stating that the bill claimed remained unpaid.

AUTHORISED SIGNATORY			AUTHORISED SIGNATORY