Procedure for Grant of Medium Term Open Access

In accordance with the

Maharashtra Electricity Regulatory Commission

(Transmission Open Access) Regulations, 2016 and First  Amendment Regulation 2019

Prepared by

STATE TRANSMISSION UTILITY

MAHARASHTRA STATE ELECTRICITY TRANSMISSION COMPANY LIMITED

TABLE OF CONTENTS

1.	OUTLINE	3

2.	GRANT OF MEDIUM TERM OPEN ACCESS	4

3.	CANCELLATION OF MEDIUM TERM OPEN ACCESS	6

4.	ALLOTMENT PRIORITY	7

5.	SCHEDULING OF MEDIUM TERM OPEN ACCESS TRANSACTION	7

6.	EXIT/DOWNSIZING	8

7.	FLEXIBILITY TO CHANGE POINT OF CONNECTION	8

8.	METERING AND COMMUNICATION	9

9.	GENERAL	9

APPLICATIONS AND FORMATS	10

Procedure for Grant of MEDIUM TERM OPEN ACCESS to InSTS

- OUTLINE

  - This Procedure is in accordance with the various provisions of the “Maharashtra Electricity Regulatory Commission (Transmission Open Access) Regulations, 2016 hereinafter referred to as “the Regulations”. This procedure is to be read in conjunction with the Regulations.

  - This Procedure shall apply to the Applications made for Medium Term Open Access (MTOA) to the transmission lines or associated facilities of the intra-State transmission system (InSTS), received by the State Transmission Utility (STU) on or after the date notified by the Commission of coming into force of the Regulations.

  - The nodal agency for grant of MTOA shall be the STU i.e. Maharashtra State Electricity Transmission Company Limited.

The application for grant of MTOA  shall be made to the nodal agency between 3months to 12months prior to the intended commencement of Open Access.

Illustration: Application for grant of Open Access commencing for 1st January 2023 shall be made between 1st January 2022 to 30th September 2022

  - MTOA is the right to use the InSTS for any period exceeding three months but not exceeding Five years.

  - Before applying for MTOA, the applicant should be already connected to the system or shall have a valid Grid Connectivity either from STU or CTU, for both point of injection and for point of drawal.

  - Where capacity is available in the Intra-State Transmission System, the Nodal agency shall consider applications for Open Access on a “first come, first served” basis. Where two or more applications are received on the same day an application for longer duration shall take precedence over an application for a shorter duration of access to the Intra-State Transmission System. Provided that two or more applications for the same duration of access received on the same day shall be treated pari passu for allotment of transmission capacity rights and in case of insufficient available capacity to accommodate all applications, the applicants shall be allotted a pro rata share in the available capacity proportionate to the capacities applied for.

  - After receipt of application, any change either in timeframe, drawl/injection point or increase in quantum of power shall require submission of a fresh application and the already made application shall stand disposed off and its application fees forfeited.

  - Medium-term Open Access shall be granted if the resultant power flow can be accommodated in the existing transmission system or the transmission system under execution and likely to be available from the intended date of MTOA.

  - No augmentation or any reconfiguration or any switching operation shall be carried out to the transmission system for the sole purpose of granting Medium term Open access. The construction of a dedicated transmission line shall not be construed as augmentation of the transmission system for the purpose of this Regulation. In case of delay in commissioning of transmission system under execution considered for such grant of access, due to any reasons beyond the control of the STU, STU shall not be responsible for making any alternate arrangements to accommodate the resultant power flow.

  - Where transmission capacity rights have been allotted to an applicant in accordance with the Regulations, the applicant shall, to the extent of the transmission capacity rights so allotted and subject to the limitations specified in the Regulations and in the State Grid Code, rank pari passu with all other Transmission System Users as regards access to the Intra-State Transmission System of the Transmission Licensee.

  - Applicant shall enter into a Bulk Power Transmission Agreement (BPTA) with STU for access to and use of the Intra-State Transmission System of the STU, once the Access is granted. In case the Access is granted on the InSTS of a transmission licensee other than STU, a Tripartite Agreement shall be executed between Applicant, STU and the concerned Transmission Licensee.

  - On expiry of the period of the Medium-term Open Access, the consumer shall not be entitled to any overriding preference for renewal of the term.

- GRANT OF MEDIUM TERM OPEN ACCESS

  - The application for Grant of Medium Term Open Access to InSTS should be submitted in a sealed envelope with “Application for Grant of MTOA” clearly marked on the envelope. The application shall be addressed to:

The Chief Engineer (STU)

Maharashtra State Electricity Transmission Company Ltd.

4th Floor, A-Wing, Prakashganga,

E-Block, Plot No. C-19,

Bandra Kurla Complex, Bandra (E),

Mumbai – 400 051.

Maharashtra.

Fax: 022-2659 1222.

  - The application for Grant of Medium Term Open Access to InSTS shall be made as per the application format for connectivity (FORMAT: A – 2) and shall contain details such as, Point of Injection and Drawal of power, Details of PPA, quantum of power to be injected and drawn, status of project i.e. existing/proposed/under-construction, timelines for completion of the project, period for which open access is required along with dates, etc. The application shall be accompanied by an Affidavit as per the FORMAT: AFFIDAVIT – 2.

  - The Application shall be accompanied by a non-refundable processing fee of Rs. 1.0 Lakhs (One Lakh Rupees Only) per application as specified in the Regulations.

  - Application fees are to be paid through DD or directly credited to MAHATRANSCO Account electronically through RTGS (Real-time gross settlement) as per details given below:

- Payee: Maharashtra State Electricity Transmission Company Ltd.

- Name of Bank : Bank of Maharashtra

- Branch : Andheri (East), Mumbai 400069

- IFSC : MAHB0000311

- A/c No. : 60418650017

Provided that proof of payment directly credited to above MAHATRANSCO account must be attached with the application. The Demand Draft shall be in favour of Maharashtra State Electricity Transmission Company Ltd. payable at Mumbai.

  - An incomplete Application, and/or an Application not found to be in conformity with these Procedures and Regulations, shall be rejected.

  - The following documents are to be submitted along with the application for grant of MTOA:

- Copy of PPA or Sale/Purchase Agreement (with power purchase rate mentioned)

- If projects are already connected to the system, document certifying physical interconnection with the InSTS or distribution system.

- Certificate from the concerned Transmission/Distribution Licensee towards existence of infrastructure necessary for 15 minute time-block-wise energy metering and accounting in accordance with the provisions of State grid code in force.

- Certificate from the concerned SLDC towards Real Time Visibility of generation.

- Certificate towards Commercial Operation Date (COD) prior scheduling date or commencement date of access (in case of existing projects).

- If the projects are not presently connected either to InSTS or distribution system, document confirming commissioning of physical interconnection with InSTS or distribution system before intended date of availing Open Access. This document shall be certified by the concerned Transmission/Distribution Licensee.

- If the point of injection and/or drawal is within distribution system, consent from the concerned Distribution Licensee.

  - In case, the injection and/or drawal point is with the ISTS network i.e. to the network of CTU or any other transmission licensee holding license from CERC) and the applicant intends to use InSTS, the proposal shall be processed as per CERC Regulations and respective amendments. The consent shall be issued within 10 working days from the date of receipt of the application or date of receipt of all the required documents, mentioned at clause 2.6 above. In such case, consent from the concerned STU and copy of application made to CTU for MTOA is to be submitted along with the application.

  - The application for grant of Medium Term Open Access shall be processed in consultation and co-ordination with the concerned transmission and/or distribution licensee and the applicant shall be intimated about grant or refusal of the access within 60 working days from the receipt of application. In case of refusal of the access and/or if the access can be granted for period less than sought by the applicant, STU shall intimate the reasons for the same to the applicant while granting access.

  - The letter towards Grant of Medium Term Open Access issued by STU shall be as per FORMAT: MTOA – 1. In this letter the details viz. Point of Injection, Point of Drawal, Date of commencement and end of Access, any dedicated transmission infrastructure needed and bank guarantee amount to be submitted to STU, along with other terms and conditions.

  - It is mandatory that within 60 days from the date of grant of MTOA, the applicant shall sign a Bulk Power Transmission Agreement (BPTA) with STU. In case, the transmission network of transmission licensee other than STU is being utilized, a tripartite BPTA shall be executed between Applicant, STU and the concerned transmission licensee.

  - Within 60 days from the grant of MTOA, the applicant shall furnish a Bank Guarantee in favour of “Maharashtra State Electricity Transmission company Limited” equivalent to 105 % of the average monthly transmission charges. The bank guarantee shall be as per FORMAT: BG – 1. The said bank guarantee shall be valid for the total period of access.

  - Applicant shall furnish Letter of Credit as per FORMAT: LC – 1, equivalent to estimated transmission charges of TWO months, 30 days before commencement of MTOA period. The Letter of Credit shall be in favour of “Maharashtra State Electricity Transmission Company Limited”. The said letter of credit shall be valid for the total period of access up to TWO (2) months after to the expiry date of MTOA. The estimated average transmission charges would be reviewed every six months/MTOA period whichever is less and accordingly the amount of Letter of Credit would be enhanced/reduced by the applicant.

- CANCELLATION OF MEDIUM TERM OPEN ACCESS

  - In case, if there is delay in utilizing the MTOA, the applicant may intimate the STU about the same along with the reasons for such delay, however, such delay shall not be more than SIX months from the date of commencement of access. In such case, 10 % of bank guarantee per month shall be encashed by the STU. If the delay persists more than six months from the date of commencement of access, the MTOA shall be cancelled.

  - If due to any reason, the open access is not availed by the applicant within SIX months from the date of commencement of the access, STU shall encash the Bank Guarantee and the MTOA granted shall stands cancelled. In such case, if required, the applicant may apply afresh for the grant of MTOA which shall be processed in accordance to the regulations.

  - For any other reasons such as non-payment of the charges applicable under the provisions of the regulations, the application and the access shall be cancelled as per clause no. 3.2 above.

  - In case of cancellation of the access or application, the applicant may apply afresh which shall be processed according to the provisions of the Regulations.

  - Before cancellation of the access or application, the applicant shall be intimated to submit the compliance and if the compliance not found satisfactory, the application or access shall be cancelled.

- ALLOTMENT PRIORITY

  - A distribution licensee shall have highest priority in allotment of open access irrespective of type of open access.

  - The priority of grant of Medium Term Open Access shall be followed by the Long Term Open Access applicants and shall be preceded by the Short Term Open Access Applicants.

  - When the capacity requirement projected by an applicant is more than the available transmission capacity and the said applicant is not able to limit his requirement to the available capacity, the request of applicant having next lower priority shall be taken up for consideration.

- SCHEDULING OF MEDIUM TERM OPEN ACCESS TRANSACTION

  - The scheduling jurisdiction and procedure, curtailment and revision of schedule of MTOA transactions, metering, energy accounting and accounting of (Unscheduled Interchange) UI charges shall be as per the Regulations and the Indian Electricity Grid Code, as amended from time to time. While scheduling on day-ahead basis, long-term access customers would have the highest priority, followed by medium term customers and then followed by short-term customers.

  - All the generating plants (irrespective of installed capacity) and bulk consumers (having load above 1 MW) shall have to be scheduled by the concerned SLDC. However, the Renewable Energy generating projects, being identified as ‘Non-firm power’ by the commission, shall be governed by the provisions for scheduling laid down by the Commission time to time.

  - Underutilization of transmission capacity:

In case it is observed by SLDC that the MTOA customer request for scheduling is consistently (for more than 5 days) lower than the capacity granted by the Nodal Agency (i.e. STU), SLDC may issue a notice to such MTOA customer asking the reasons for such under-utilization. The MTOA customer shall furnish the reasons for such under-utilization and will provide such details like the reduced requirement, likely period, etc. by the following day. The un-utilized transfer capability will then be released for scheduling of Short-term open access transaction. No refund of transmission charges shall be made due to such curtailment.

- EXIT/DOWNSIZING

  - A customer who has been granted MTOA, may relinquish rights, fully or partly, by giving at least 30 days prior notice to the nodal agency, provided that the medium-term customer relinquishing its rights shall pay applicable transmission charges for the quantum of relinquishment, for the period of relinquishment or 30 days whichever is lesser. Further, the above compensation paid by medium-term customer shall be used for reducing transmission charges payable by other long-term customers and medium-term customers in the year in which such compensation payment is due in the ratio of transmission charges payable for that year by such long term customers and medium-term customers.

  - Once downsizing request has been accepted by STU, an intimation of MTOA for the reduced power shall be issued and the same shall be informed to Applicant, concerned SLDC and CTU. Any increase thereafter, either in timeframe or quantum shall require submission of a fresh application.

- FLEXIBILITY TO CHANGE POINT OF CONNECTION

  - A Medium Term consumer availing open access for full ONE year, may change the point of injection/drawal twice within the access period, which shall be considered subject to feasibility.

  - The application by the existing open access consumer for change of point of injection and/or drawal shall be submitted to STU 03 months in advance, before implementation of such change.

  - The 2nd change of point of injection/drawal would be considered only after lapse of six months from the fists change being made effective.

  - The change of point of injection/drawal shall be considered only if there is no change in quantum of power to be transacted under Open Access.

  - For the change in point of injection/drawal, the open access consumer shall apply to STU along with the processing fee as per clause no. 2.3 and 2.4.

- METERING AND COMMUNICATION

  - It is mandatory on the applicant to install Special Energy Meters capable of time differentiated measurements for time-block-wise active energy and voltage differentiated measurement of reactive energy in accordance with State Grid Code.

  - All the Open Access consumers shall abide by the metering standards of CEA and all the interface points and/or metering points in the Intra-State Transmission System shall comply with the State Metering Code. In case such interface and/or metering points are not defined in the State Metering Code shall be defined by the SLDC to facilitate State Energy Accounting for the State.

  - The Open Access Consumer shall ensure visibility of generation to SLDC for real time monitoring and on-line communication of energy meter data for energy accounting.

  - The Special Energy Meters and RTU-DC shall be open for inspection by any person authorized by the nodal agency and/or SLDC.

  - The Open Access consumer shall bear the cost towards Special Meters, on-line communication of data & Visibility of generation to SLDC.

- GENERAL

  - The applicant shall keep the nodal agency and SLDC indemnified at all times and shall undertake to indemnify, defend and keep the nodal agency and SLDC harmless from any and all damages, losses, claims and actions including those relating to injury to or death of any person or damage to property, demands, suits, recoveries, costs and expenses, court costs, attorney fees, and all other obligations by or to third parties, arising out of or resulting from the long-term access transaction.

  - All costs/expenses/charges associated with the application, including bank draft, bank guarantee, letter of credit etc. shall be borne by the applicant.

  - The applicant shall abide by the provisions of the Electricity Act, 2003, the Regulations and Indian Electricity Grid Code, as amended from time to time.

  - This procedure aims at easy and pragmatic disposal of applications made for Medium Term Open Access in InSTS. However, some teething problems may still be experienced. The various implications would be known only after practical experience is gained by way of implementing these procedures. In order to resolve the same, this procedure shall be reviewed or revised by the Nodal agency with prior approval of MERC.

  - All complaints regarding unfair practices, delays, discrimination, lack of information, supply of wrong information or any other matter related to Medium-term Open access in InSTS shall be directed to MERC for redressal.

- APPLICATIONS AND FORMATS

AFFIDAVIT – 2

On Non Judicial Stamp paper of Rs.100/-

AFFIDAVIT

In the matter of filing application to Maharashtra State Electricity Transmission Company Ltd., for grant of Medium Term Open Access/Long Term Access under MERC (Transmission Open Access) Regulations 2016.

I……(Name)……S/o Shri ……(Father’s name)… working as ……. (Post)……. in ……(name of the Company)………..,having its registered office at ……… (address of the company)…….., do solemnly affirm and say as follows:

- I am the ….. (Post)……. of …..(Name of the Company)………, the representative in the above matter and am duly authorized to file the above application and to make this affidavit.

- I submit that M/s……..(name of the company)……. is a registered company …….(Public Ltd/Pvt. Ltd.)……. Registered under Companies Act. Under the Article of Association of the Company and in accordance with the provisions of Electricity Act, 2003/relevant Regulation(s) of MERC, the company can file the enclosed application.

- I submit that all the details given in the enclosed application for grant of Medium Term Open Access/Long Term Access along with necessary documents are true and correct and nothing material has been concealed thereof.

(Signature)

Name of the Applicant

Date:

Place:

(To be duly attested by Notary)

FORMAT: A – 2

APPLICATION FOR GRANT OF MEDIUM TERM OPEN ACCESS

| 1 | Name of the applicant applying for Medium Term Open Access on intra-state transmission system |  |
| --- | --- | --- |
| 2 | Address for correspondence |  |
| 3 | Details of Authorized Contact Person for comminication |  |
|  | Name |  |
|  | Designation |  |
|  | Phone Number |  |
|  | Mobile Number |  |
|  | Fax Number |  |
|  | E-Mail ID |  |
|  | Details of Authorized Contact Person for Scheduling |  |
|  | Name |  |
|  | Designation |  |
|  | Phone Number |  |
|  | Mobile Number |  |
|  | Fax Number |  |
|  | E-Mail ID |  |
| 4 | Nature of Applicant |  |
|  | Normal Generator (other than Captive) |  |
|  | Captive Generator |  |
|  | Bulk Consumer |  |
|  | Electricity Trader |  |
|  | Others |  |
| 5 | Quantum and Period for Medium Term Open Access |  |
|  | Quantum (MW) for which MTOA is required |  |
|  | Date from which MTOA is required |  |
|  | Date up to which MTOA is required |  |
|  | Time Block for MTOA |  |
|  | Total Period of MTOA |  |
| 6 | Details for Injection of Power |  |
|  | Total Installed Capacity (MW) |  |
|  | Project location, Taluka, District |  |
|  | Specify Status of project i.e. Existing / Proposed / Under-construction |  |
|  | Specify whether the project is connected to Transmission system or Distribution system |  |
|  | Name of the transmission/Distribution licensee to which project is connected |  |
|  | Name of the Sub-Station or Line to which project is connected |  |
|  | In case, if the project is connected to the network of distribution licensee, name of EHV Sub-Station to which distribution system is connected |  |
|  | Attach SLD from Point of Injection up to EHV Sub-Station |  |
| 7 | Details of Drawal of Power |  |
|  | Total Quantum of Power to be drawn (MW) |  |
|  | Specify Status of project i.e. Existing / Proposed / Under-construction |  |
|  | Specify whether the project is connected to Transmission system or Distribution system |  |
|  | Name of the transmission/Distribution licensee to which project is connected |  |
|  | Name of the Sub-Station or Line to which project is connected |  |
|  | In case, if the project is connected to the network of distribution licensee, name of EHV Sub-Station to which distribution system is connected |  |
|  | If the consumer is already a customer of distribution licensee, attach copy of latest electricity bill | Attached |
|  | Attach SLD from Point of Drawal up to EHV Sub-Station |  |
|  | Whether Open Access is for PARTIAL or FULL Load (In case of Partial load, attach copy of consent from concerned distribution licensee) |  |
|  | Details of alternate arrangements in case of absence of Generation |  |
| 8 | If dedicated transmission system for connecting generating plant is proposed or under-construction, specify the time frame required for completion of the same (which should not be prior to date of commencement of MTOA) |  |
| 9 | If dedicated transmission system for connecting bulk power drawal is proposed or under-construction, specify the time frame required for completion of the same (which should not be prior to date of commencement of MTOA) |  |
| 10 | Enclose Progress report certified by the concerned transmission licensee |  |
| 11 | Particulars of PPA/Contracts |  |
|  | For Power Purchase: Executed between ----(Name of Seller)------ and ----(Name of Buyer)-----. | From Date: To Date: Total Period: _______ (Months) |
|  | For Balancing and Mismatch Power requirements: Executed between ----(Name of Seller)------ and ----(Name of Buyer)-----. |  |
| 18 | Processing Fee Transaction Details |  |
|  | Bank Draft for Application Processing Fee |  |
|  | Name of Bank |  |
|  | Demand Draft No. & Date |  |
|  | Amount in Rs. | Rs.1,00,000/- (In words: One Lakhs Rupees only) |
|  | Payable at Bank |  |
|  | If payment made through NEFT, enclosed copy of receipt | Receipt No: Date: |

It is hereby certified that:

- For the transactions, utilities (including buyer, seller and trader) shall abide by the provisions of the MERC (Transmission Open Access) Regulations, 2016 and/or MERC (Distribution Open Access) Regulations, 2016 as the case may be and its amendment from time to time.

- The buyer and seller have entered into commercial agreement for the proposed transaction. Payment of the Medium Term Open Access charges (if not paid) shall be made by me.

- The applicant hereby agrees to keep ….. (Name of the Transmission licensee)..… indemnified at all times and undertakes to indemnify, defend and save the …… (name of the Transmission licensee)…… harmless from any and all damages, losses, claims and actions relating to injury to or death of any person or damage to property, demands, suits, recovering costs and expenses, court costs, attorney fees, and all obligations by or to third parties, arising out of or resulting from the transactions under his approval.

- We shall execute the Bulk Power Transmission Agreement (BPTA) and submit Bank Guarantee & Letter of Credit after receiving the approval from the ….. (Name of the Transmission licensee)..… with in the 60 days failing which ….. (Name of the Transmission licensee)..… has right to cancel the approval without any further notice.

- ……. (Insert in case of Intra-state Trader)……..  has a valid license (ref. no issued by and valid up to ) for Intra-state Trading and will abide by MERC (Trading Licence Conditions) Regulations, 2004 and its amendment from time to time.

- ……. (Insert in case of Inter-state Trader)…….. has a valid license (ref. no issued by and valid up to) for Inter-state Trading and will abide by CERC (Procedure, Terms and Conditions for grant of trading license and other related matters) Regulations, 2009 and its amendment from time to time.

Place: 								Name:

Date:								Signature of the Applicant

Designation:

Seal:

On the letter head of STU

FORMAT: MTOA – 1

Intimation for Grant of Medium Term Open Access (MTOA)

M/s. ……… (Name of Applicant)………….

Address: ……………………………………………

……………………………………………

Kind Attn: Shri. ………(Name of Contact Person)………..

Sub: Grant of Medium Term Open Access to M/s. …..( Name of Applicant)……. for …… MW Power in

InSTS.

Ref : 1. M/s. ……….. Application No. ………., dtd. ………………, for grant of MTOA.

------------------------------------

Nature of Applicant:

Normal Generator (Other than Captive)

Captive Generator

Bulk Consumer

Electricity Trader

Details of Medium Term Open Access:

Quantum (MW) of Power for which MTOA is granted:

Date from which MTOA is granted:

Date up to which MTOA is granted:

Point of Injection Details:

Name of the Generator:

Total Installed Capacity:

Project Location (Site, Taluka, District):

Name of the Transmission Licensee to which project is connected:

Point of Injection (Name of Sub-Station/Line of Transmission Licensee):

Quantum of Power (MW) to be injected for MTOA:

Point of Drawal Details:

Name of Consumer:

Total Installed Capacity of Load:

Project Location (Site, Taluka, District):

Name of the Transmission Licensee to which project is connected:

Point of Injection (Name of Sub-Station/Line of Transmission Licensee):

Quantum of Power (MW) to be injected for MTOA:

List of Documents submitted by the Applicant are…

- …………………………………………………..

- …………………………………………………..

- …………………………………………………..

- …………………………………………………..

The Medium Term Open Access shall be governed by the:

- Indian Electricity Act. 2003.

- Indian Electricity Grid Code December 2005

- MERC (Transmission Open Access) Regulation – 2016.

- MERC (State Grid Code) Regulations 2006 - Part B, Part C, Part D and Part F.

- Amendments in regulations if any, issued by the appropriate commission at any time.

Details of Additional Documents to be submitted by the Applicant within 60 days from the date of this letter:

- Bulk Power Transmission Agreement (BPTA) executed between Applicant, STU and the concerned Transmission Licensee.

- Bank Guarantee (BG) of Rs….. Lakhs (In Words: ………) in favour of Maharashtra State Electricity Transmission Company Limited.

Effective date of Bank Guarante: …. (Specify Date of commencement of MTOA)….

Validity date of Bank Guarantee: ….( Specify a Date TWO month before expiry of MTOA)…..

Details of Additional Documents to be submitted by the Applicant before 30 days from the date of commencement of MTOA:

- Letter of Credit of Rs….. Lakhs (In Words: ………) in favour of Maharashtra State Electricity Transmission Company Limited.

Effective date of Letter of Credit: …. (Specify Date of commencement of MTOA)….

Validity date of Letter of Credit: ….( Specify a Date TWO month before expiry of MTOA)…..

Further, it is to inform you that if you fail to submit the above mentioned documents before the prescribed dates, this grant of MTOA shall stand cancelled as per the provisions of the regulations.

Thanking you.

Yours Faithfully,

Chief Engineer

State Transmission Utility

FORMAT: BG – 1

PROFORMA OF BANK GUARANTEE FOR

PERFORMANCE

(To be stamped in accordance with Stamp Act)

Ref. ………………………. 				Bank Guarantee No. ……………

Date ……………………..

To

M/s. Maharashtra State Electricity Transmission Company Limited,

Chief Engineer (State Transmission Utility),

“Prakashganga”, 5th Floor, A-wing,

Plot N. C-19, E-Block,

Bandra Kurla Complex,

Bandra (East),

Mumbai – 400 051.

Dear Sirs,

In consideration of the Maharashtra State Electricity Transmission Company Limited, (hereinafter referred to as the “MSETCL” which expression shall unless repugnant to the context or meaning thereof include its successors, administrators and assigns) having signed an agreement No……………………..dated………………….with MEDIUM TERM TRANSMISSION CUSTOMER (Name of Customer ……………………….. with its Registered/Head office at …………………………….(hereinafter referred to as the “MTOA CUSTOMER ” which expression shall unless repugnant to the context or meaning thereof, include its successors, administrators, executors and assigns)

WHEREAS it has been agreed by the MTOA customer in the said Agreement that in case of failure /delay to construct the generating station /dedicated transmission system or makes an exit or abandon its project by MTOA CUSTOMER, MSETCL shall have the right to collect the transmission charges and or damages considering the total estimated capital investment to be made by MSETCL for total scheduled injection by MTOA CUSTOMER for an amount which shall be equivalent to the amount calculated based on the scheduled MW capacity of the project @Rs. ……….Lakh/MW to compensate such damages.

AND WHEREAS as per the aforesaid agreement MTOA customer is required to furnish a Bank Guarantee for a sum of Rs……….(Rupees……..) as a security for fulfilling its commitments to MSETCL as stipulated under Clause 05 of the said Agreement.

We………………………………………………………………………………………

(Name & Address of the Bank)

having its Head Office at…………………………….(hereinafter referred to as the “Bank”, which expression shall, unless repugnant to the context or meaning thereof, include its successors, administrators, executors and assigns) do hereby guarantee and undertake to pay the MSETCL on demand any and all monies payable by the MTOA CUSTOMER to the extent of …………………………………………………………………..as aforesaid at any time upto ………………**………………………………(days/month/year) without any demur, reservation, context, recourse or protest and/or without any reference to the MTOA CUSTOMER.

Any such demand made by the MSETCL on the Bank shall be conclusive and binding not withstanding any difference between the MSETCL and the MTOA CUSTOMER or any dispute pending before any Court, Tribunal, Arbitrator or any other authority. The Bank undertakes not to revoke this guarantee during its currency without previous consent of the MSETCL and further agrees that the guarantee herein contained shall continue to be enforceable till the MSETCL discharges this guarantee.

The MSETCL shall have the fullest liberty without affecting in any way the liability of the Bank under this guarantee, from time to time to extend the time for performance of the obligations under the said agreement by the MTOA CUSTOMER. The MSETCL shall have the fullest liberty, without affecting this guarantee, to postpone from time to time the exercise of any powers vested in them or of any right which they might have against the MTOA CUSTOMER, and to exercise the same at any time in any manner, and either to enforce or to forbear to enforce any covenants, contained or implied, in the Agreement between the MSETCL and the MTOA CUSTOMER or any other course or remedy or security available to the MSETCL. The Bank shall not be released of its obligations under these presents by any exercise by the MSETCL of its liberty with reference to the matters aforesaid or any of them or by reason of any other act of omission or commission on the part of the MSETCL or any other indulgences shown by the MSETCL or by any other matter or thing whatsoever which under law would, but for this provision have the effect of relieving the Bank.

The Bank also agrees that the MSETCL at its option shall be entitled to enforce this Guarantee against the Bank as a principal debtor, in the first instance without proceeding against the MTOA CUSTOMER and not withstanding any security or other guarantee the MSETCL may have in relation to the MTOA CUSTOMER‟s liabilities.

Notwithstanding anything contained hereinabove our liability under this guarantee is restricted to ………..and it shall remain in force upto and including ……………..and shall be extended from time to time for such period (not exceeding ……….. year), as may be desired by M/s …………….on whose behalf this guarantee has been given.

Dated this…………….day of ………………20………………….at…………………

WITNESS

…………………………………………. ………………………………………………

(Signature) 								(Signature)

………………………………………….. ………………………………………………

(Name)									 (Name)

…………………………………………... ………………………………………………

(Official Address)					 (Designation with Bank Stamp)

Attorney as per Power

of Attorney No. ……………….

Date ..………………………….

NOTES:

1. The stamp papers of appropriate value shall be purchased in the name of issuing Bank.

FORMAT: LC – 1

SPECIMEN OF INLAND IRREVOCABLE REVOLVING DOCUMENTARY LETTER OF CREDIT

Name of the Bank		:-

Name of the Branch	:-

Address 			:-

Fax No			:-

Phone No			:-

BENEFICIARY COPY

| BENEFICIARY | : | CHIEF ENGINEER (STU), MAHARASHTRA STATE ELECTRICITY TRANSMISSION CO. LTD., (MSETCL), PRAKASHGANGA, C-19, E-BLOCK, BANDRA KURLA COMPLEX, BANDRA (EAST), MUMBAI 400 051. MSETCL STU POOL A/C NO. 016020110000004 IN BANK OF INDIA, MUMBAI LARGE CORPORATE BRANCH. |
| --- | --- | --- |
| OPENERS | : | Name of the Transmission System User Address :- |
| INLAND IRREVOCABLE REVOLVING DOCUMENTARY LETTER OF CREDIT NO. | : |  |
| ISSUING DATE | : |  |
| EXPIRY DATE | : |  |
| ADVISING BANK | : | BANK OF INDIA, MUMBAI LARGE CORPORATE BRANCH , L.C.SECTION, 70/80, M. G. ROAD, FORT, MUMBAI – 400 023. (IFS CODE BKID0000160) |
| LC RESTRICTED FOR NEGOTIATION WITH ADVISING BANK. THE NEGOTIATING BANK SHOULD CERTIFY THAT THE TERMS OF CREDIT HAVE BEEN FULFILLED AND PRESENT THE DOCUMENTS DIRECTLY TO US AND CLAIM REIMBURSEMENT FROM BANK _____________, BRANCH________ (NAME OF THE ISSUING BRANCH). |  |  |

AUTHORISED SIGNATORY			  AUTHORISED SIGNATORY

We have pleasure in advising you that we have established an Inland Irrevocable REVOLVING Documentary Letter of Credit in your favour (i.e. BENEFICIARY as mentioned above)  on account of the openers, named above for a sum not exceeding Rs. _________(RUPEES IN WORDS) available by beneficiary invoice for Intra State Transmission System charges at sight accompanied by the following documents.

| DOCUMENTS REQUIRED |  |
| --- | --- |
| 1 | Monthly Invoice for Intra State Transmission System charges |
|  | The |

Negotiating Bank (i.e. Advising Bank Branch) must send the original documents to (Name of the Bank) ___________ (Name of the Branch) ________ (i.e. Issuing Bank) by Registered Mail, and certify that presentation is in accordance with the terms of this credit.  We hereby engage with the drawers, endorsers and bonafide holder that the said monthly Invoices for Intra State Transmission System charges shall be duly honoured on sight. Except as otherwise expressly stated, this credit is subject to uniform customs and practice for documentary credits (2007 Revision) international chamber of commerce Publication  no.600 (“UCP”).

SPECIAL INSTRUCTION:

Letter of Credit will be for Rs. ___________ (Rs. in words) revolving once in a month.

GENERAL

- The opening, maintenance and negotiation charges of INLAND IRRECOVABLE REVOLVING DOCUMENTARY LETTER OF CREDIT shall be borne by the openers (i.e. Transmission System).

- Chief Engineer (STU), Maharashtra State Electricity Transmission Company Ltd. will certify the correctness of the monthly Invoice for Intra State Transmission System charges.

- Chief Engineer (STU), Maharashtra State Electricity Transmission Company Ltd. (MSETCL) shall submit invoice for monthly for Intra State Transmission System charges for 100% amount in duplicate with a certificate stating that the bill claimed remained unpaid.

AUTHORISED SIGNATORY			AUTHORISED SIGNATORY