BUSINESS PLAN FOR MYT CONTROL PERIOD

FY 2011-12 to FY 2015-16

Submitted by

Maharashtra State Electricity Transmission Company Limited

Executive Summary

Table of Contents

1.	Background	4

1.1.	Objective of the Business Plan	4

Executive Summary	Error! Bookmark not defined.

1.2.	Limitations of the Business Plan	4

1.3.	Approach & Methodology	5

2.	Operational Plan	6

2.1.	Capital Investment Plan (CIP)	6

2.1.1.	Proposed Capital Expenditure	6

2.2.	Technical Improvement Plan(TIP)	11

2.2.1.	New measures in O&M practice	12

2.3.	Establishment of comprehensive communication network using OPGW	12

2.4.	Financing of CIP and TIP	12

2.5.	Projection of Expenses for 2nd Control Period	13

2.5.1.	Operation & Maintenance (O&M) Expenses	13

2.5.1.1.	O&M Expenses for FY 2011-12 and FY 2012-13	13

2.5.1.2.	O&M Expenses from FY 2013-14 to FY 2015-16	13

2.5.2.	Interest & finance Charges	15

2.5.3.	Assets and Depreciation	17

2.5.4.	Interest on Working Capital and Consumer security deposit	18

2.5.5.	Return on Equity	18

2.5.6.	Other Expenses	18

2.5.6.1.	Other expense	18

2.5.6.2.	Contingency Reserves	18

2.5.6.3.	Income tax	18

2.5.7.	Non tariff Income	19

2.5.8.	Income from wheeling received from Goa State	19

2.6.	Revenue Gap for FY 2011-12	19

3.	Projection of Annual Revenue Requirement	20

3.1.	Income Tax for FY 2013-14 to FY 2015-16	22

3.2.	Scenario Analysis	22

3.2.1.	O&M expense	22

3.2.2.	Interest on Long term loans	22

3.2.3.	Comparison of ARR under the three scenario	23

3.3.	Performance Indices	24

3.3.1.	Availability of Transmission System	24

3.3.2.	Transmission Losses	24

# Background

# Objective of the Business Plan

Maharashtra State Electricity Transmission Company Limited (MSETCL) is a state owned public utility and is responsible to manage the Intra-state transmission planning, development and maintenance of the state transmission network in order to provide safe and secure energy transaction in the state of Maharashtra. MSETCL operates under regulatory regime of the Hon’ble Commission i.e. Maharashtra Electricity Regulatory Commission (MERC). In compliance to the directives of the Hon’ble Commission, MSETCL is submitting a business plan for the second Multi Year Control Period of FY 2011-12 to FY 2015-16.

The Hon’ble commission issued MYT Regulation 2011 applicable for the period FY 2011-12 to FY 2015-16 wherein the Regulation 7.1 directs the Generating Company, Transmission Licensee and Distribution Licensee to file a business plan for the Control Period of five Financial Year from 1st April 2011 to 31st March 2016. MSETCL submitted a Petition seeking exemption from determination of tariff and applicability of the MERC (Multi Year Tariff) Regulations, 2011 for a period of five years

The Hon’ble Commission vide its Order dated 3 November 2011, on the said petition exempted the determination of Tariff for MSETCL under the Multi-Year Tariff framework till March 31, 2013 (i.e., for a period of 2 years).

MSETCL is submitting the current petition for approval of Business plan for the period FY 2011-12 to FY 2015-16, wherein the projections for FY 2011-12 and FY2012-13 are guided by the provisions of Tariff Regulations, 2005 and the projections for the period FY 2013-14 to FY 2015-16 are guided by the provisions of MERC (Multi Year Tariff) Regulations 2011, except where deviations from the Norms and the provisions are sought by MSETCL with adequate justification thereof.

# Limitations of the Business Plan

MSETCL is submitting the Business Plan for the period FY 2011-2012 to FY 2015-2016 without prejudice to its rights and contention to the comments and/or suggestions submitted by it on the MERC (MYT) Regulations, 2011.

MSETCL would like to bring to the notice of Hon’ble Commission the uncertainty in the long term projection of data. The Hon’ble Commission will appreciate that it is beyond the control of the transmission licensee to accurately predict changes and trends in the parameters for a long period of five years especially in view of the unpredictable nature of the existing economic factors, changes in technology and change in Government Policy, Rules & Regulations.

MSETCL further submits that the projection of system augmentation requirement is subject to the load forecast and load flow analysis, that are dynamic in nature.

MSETCL humbly submits that the Hon’ble Commission should take cognizance of the fact that the business plan is a dynamic document which may be updated at various intervals to align the growth path of the company with the external business environment and internal factors affecting the business/operations of the company.

# Approach & Methodology

The Financial projections of MSETCL have been prepared considering that it would be operating as transmission service provider and the primary source of its revenue would be that earned in lieu of its service to the users of the transmission network.

The business plan is for the period FY 11-12 to 15-16 considers the following:

- Plan is prepared considering the recent changes in the sector and as well as the growth track projections of MSETCL

- The Transmission investment plan, load forecasting, loss reduction plan, generation plan etc., have been incorporated as provided in the 5-year STU Transmission Plan for the period FY 12-13 to FY 16-17.

- The projections of ARR for FY 2011-12 and FY 2012-13, are in accordance with the MERC (Terms and conditions of Tariff) Regulations 2005, as directed by the Hon’ble Commission

- The projections for FY 13-14 to FY15-16, are based on MERC (MYT) Regulations 2011.The estimate of expense and the working capital requirement have been considered based on the historical trend and as per MERC (MYT) Regulations, 2011. However on few items, MSETCL has relied on proposing the norms that reflects the justified expenses projection to meet the operational needs.

# Operational Plan

# Capital Investment Plan (CIP)

The purpose of the CIP is to provide MSETCL with a summary of activities for budgeted for the horizon period FY 11-12 to 15-16. The CIP provides a roadmap for planning and implementation of proposed investments.

The CIP for the FY 2011-12 to FY 2015-16 funds capital assets necessary to implement outcomes in plans that are more detailed.  The CIP provides details of the capex scheme in three categories of Evacuation, System Strengthening and LE schemes, however MSETCL in compliance with the Guidelines issued for approval of the Capex schemes shall also  be submitting the Detailed Project Report for each such scheme for in-principal approval from the Hon’ble Commission. MSETCL informs the Hon’ble Commission that the proposed Capex schemes also include the 5-year STU transmission plan from FY 12-13 to FY 16-17.

# Proposed Capital Expenditure

MSETCL for the purpose of executing the physical plan has classified the proposed Capex into three categories as given below:

- Evacuation Schemes

- System Strengthening Schemes

    - Sub-Stations

    - Link Lines

    - Transformer Additions

    - Transformer Replacements

- Life Extension Schemes

- Ancillary Schemes including schemes for increasing redundancy

For executing the above-mentioned scheme, MSETCL board has approved the budget allocation as under:

Table 1: Budget Allocation for Capital Expenditure Schemes

Budget Head-wise

Rs Cr

| Particulars | No. of Schemes | Capital Exp. for FY 2011-12 | Capital Exp. for FY 2012-13 | Capital Exp. for FY 2013-14 | Capital Exp. for FY 2014-15 | Capital Exp. for FY 2015-16 |
| --- | --- | --- | --- | --- | --- | --- |
| Evacuation | 20 | 521.22 | 470.25 | 682.66 | 842.90 | 742.39 |
| Transformer Addition | 100 | 302.58 | 265.63 | 92.38 | 44.40 | 0.00 |
| Transformer Replacement | 55 | 16.05 | 161.82 | 23.42 | 2.00 | 0.00 |
| Substation | 140 | 1,201.97 | 3,219.72 | 3,134.06 | 3,292.79 | 1,678.58 |
| Link Lines | 119 | 217.63 | 566.54 | 422.62 | 245.44 | 869.48 |
| Life Extension | 77 | 82.13 | 25.52 | 200.00 | 200.00 | 200.00 |
| Ancillary | 85 | 70.01 | 185.52 | 116.76 | 57.00 | 42.00 |
| TOTAL | 596 | 2,411.59 | 4,895.00 | 4,671.90 | 4,684.53 | 3,532.45 |

*The values for FY 2011-12 are based on the actuals (provisional) for MSETCL

Approval-status wise

Rs Cr

| Sr. No. | Particulars | No. of Schemes | Capital Exp. for FY 2011-12 | Capital Exp. for FY 2012-13 | Capital Exp. for FY 2013-14 | Capital Exp. for FY 2014-15 | Capital Exp. for FY 2015-16 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MERC Approved Schemes (DPR Schemes) | 110 | 1,888.08 | 2,971.75 | 1,948.27 | 1,244.56 | 844.48 |
| 2 | MERC Approval Awaited Sch emes | 153 | 473.36 | 1,400.76 | 1,524.01 | 1,768.94 | 551.71 |
| 3 | MERC Proposed DPR Schemes | 91 | 1.64 | 329.01 | 1,138.33 | 1,631.07 | 1,852.98 |
| 4 | MSEB Period DPR Schemes | 14 | 6.46 | 2.66 | 0.00 | 0.00 | 0.00 |
| 5 | Schemes sanctioned costing < RS. 10Cr (Non DPR Schemes) | 228 | 42.05 | 190.82 | 61.29 | 39.96 | 283.28 |
|  | TOTAL | 596 | 2,411.59 | 4,895.00 | 4,671.90 | 4,684.53 | 3,532.45 |

*The values for FY 2011-12  are based on the actuals (provisional) for MSETCL

(Detailed information of the proposed Capex Scheme is provided at Format 4 (detailed information) of the data format.)

The capex would lead to addition of bays and transmission lines across various voltage levels as under:

Table 2: Physical Asset Plan of MSETCL

| Particulars | As on April 1, 2011 | Year-wise addition of No. of Bays during control period |  |  |  |  |  | No of the Bays At the end of the control period |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | Total |  |
| 765KV |  | 0 | 0 | 0 | 12 | 10 | 22 | 22 |
| 500KV | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 4 |
| 400KV | 237 | 4 | 38 | 19 | 31 | 102 | 194 | 431 |
| 220KV | 1435 | 128 | 131 | 194 | 138 | 281 | 872 | 2307 |
| 132KV | 1802 | 107 | 144 | 225 | 223 | 259 | 958 | 2760 |
| 110KV | 177 | 43 | 0 | 0 | 0 | 0 | 43 | 220 |
| 100KV | 303 | 3 | 16 | 0 | 14 | 8 | 41 | 344 |
| 66KV | 206 | 0 | 0 | 0 | 0 | 0 | 0 | 206 |
| 33KV | 2740 | 255 | 170 | 234 | 198 | 236 | 1093 | 3833 |
| 22KV | 1433 | 77 | 43 | 26 | 118 | 42 | 306 | 1739 |
| 11KV | 1628 | 24 | 0 | 0 | 0 | 0 | 24 | 1652 |
| Total | 9965 | 641 | 542 | 698 | 734 | 938 | 3553 | 13518 |

*The values for FY 2011-12 are based on the actuals (provisional) for MSETCL.

| Particulars | As on April 1, 2011 | Year-wise addition of line length in Circuit km during Control Period |  |  |  |  |  | Line length At the end of the control period |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | Total |  |
| 765KV | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 100 |
| 500KV | 1504 | 0 | 0 | 0 | 0 | 0 | 0 | 1504 |
| 400KV | 6816 | 370 | 264 | 310 | 1160 | 545 | 2649 | 9465 |
| 220KV | 12568 | 651 | 1041 | 1471 | 1438 | 2024 | 6625 | 19193 |
| 132KV | 11524 | 651 | 811 | 1418 | 1861 | 1660 | 6401 | 17925 |
| 110KV | 1700 | 24 | 0 | 0 | 8 | 20 | 52 | 1752 |
| 100KV | 686 | 0 | 27 | 0 | 5 | 66 | 98 | 784 |
| 66KV | 3270 | 0 | 0 | 0 | 0 | 0 | 0 | 3270 |
| 33KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 22KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 11KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Total | 38068 | 1696 | 2143 | 3199 | 4572 | 4315 | 15925 | 53993 |

*The values for FY 2011-12 are based on the actuals (provisional) for MSETCL.

MSETCL submits that the above network addition plan is in consonance with the Demand forecast prepared by STU for the State.

The proposed capacity addition in the Transmission network in terms of number of substations and the envisaged Transformation capacity (in MVA) over the period FY 11-12 to 15-16 is as given below:

Table 3: Number of Substations and Transformation Capacity

| Particulars | As on April 1, 2011 | Year-wise Addition of number of substations during Control Period |  |  |  |  |  | No of the substations at the end of the control period |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | Total |  |
| 765KV | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 2 |
| 500KV | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |
| 400KV | 21 | 1 | 3 | 2 | 2 | 4 | 12 | 33 |
| 220KV | 158 | 13 | 11 | 15 | 12 | 11 | 62 | 220 |
| 132KV | 252 | 9 | 10 | 9 | 16 | 17 | 61 | 313 |
| 110KV | 33 | 1 | 0 | 1 | 0 | 0 | 2 | 35 |
| 100KV | 36 | 0 | 0 | 0 | 1 | 1 | 2 | 38 |
| 66KV | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 34 |
| 33KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 22KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 11KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Total | 536 | 24 | 24 | 27 | 32 | 34 | 141 | 677 |

*The values for FY 2011-12 are based on the actuals (provisional) for MSETCL.

| Particulars | As on April 1, 2011 | Addition in Transformer Capacity in MVA during Control Period |  |  |  |  |  | Transformation Capacity at the end of the control period |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | Total |  |
| 765KV | 0 | 0 | 0 | 0 | 3000 | 0 | 3000 | 3000 |
| 500KV | 3582 | 0 | 0 | 0 | 0 | 0 | 0 | 3582 |
| 400KV | 15180 | 3500 | 4000 | 2000 | 2000 | 3730 | 15230 | 30410 |
| 220KV | 35683 | 4000 | 3325 | 3900 | 2700 | 3000 | 16925 | 52608 |
| 132KV | 21911.5 | 1188 | 475 | 450 | 1100 | 1000 | 4213 | 26125 |
| 110KV | 2549 | 125 | 0 | 0 | 100 | 0 | 225 | 2774 |
| 100KV | 2575 | 12 | 0 | 0 | 0 | 50 | 62 | 2637 |
| 66KV | 1139 | 0 | 0 | 0 | 0 | 0 | 0 | 1139 |
| 33KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 22KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 11KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Total | 82620 | 8825 | 7800 | 6350 | 8900 | 7780 | 39655 | 122275 |

*The values for FY 2011-12 are based on the actuals (provisional) for MSETCL.

Based on the discussion above the proposed capitalization, during the plan period is provided in the following tables:

Table 4: Proposed Capitalisation during the Control Period

Budget Head-wise										Rs Cr

| Particulars | No. of Schemes | Project Cost | Capitalisation for FY11-12 | Capitalisation for FY12-13 | Capitalisation for FY13-14 | Capitalisation for FY14-15 | Capitalisation for FY15-16 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Evacuation | 20 | 5794.19 | 810.53 | 663.82 | 567.10 | 728.69 | 758.70 |
| Transformer Addition | 100 | 3097.40 | 376.18 | 153.74 | 206.14 | 170.94 | 54.71 |
| Transformer Replacement | 55 | 1506.68 | 15.36 | 148.07 | 159.96 | 113.29 | 10.17 |
| Substation | 140 | 12596.19 | 705.82 | 2421.44 | 2026.95 | 2845.61 | 2906.46 |
| Link Lines | 119 | 10729.66 | 160.00 | 350.34 | 607.74 | 566.90 | 441.12 |
| Life Extension | 77 | 1291.49 | 88.18 | 32.62 | 72.80 | 141.87 | 200.00 |
| Ancillary | 85 | 2117.49 | 39.89 | 104.59 | 242.02 | 203.87 | 77.90 |
| TOTAL | 596 | 37133.1 | 2195.96 | 3874.62 | 3882.71 | 4771.17 | 4449.06 |

*The values for FY 2011-12 are based on the actuals (provisional) for MSETCL.

Approval-status wise 										Rs Cr

| Particulars | No. of Schemes | Project Cost | Capitalisation for FY11-12 | Capitalisation for FY12-13 | Capitalisation for FY13-14 | Capitalisation for FY14-15 | Capitalisation for FY15-16 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| MERC Approved Schemes (DPR Schemes) | 110 | 19,550.40 | 1,922.01 | 2,665.14 | 2,352.07 | 2,336.45 | 1,446.03 |
| MERC Approval Awaited Schemes | 153 | 9,764.96 | 212.80 | 1,014.43 | 927.10 | 1,378.26 | 1,427.52 |
| MERC Proposed DPR Schemes | 91 | 5,942.09 | 1.59 | 71.28 | 382.44 | 884.73 | 1,478.36 |
| MSEB Period DPR Schemes | 14 | 699.56 | 10.07 | 7.60 | 6.48 | 4.32 | 0.00 |
| Schemes sanctioned costing < RS. 10Cr (Non DPR Schemes) | 228 | 1,176.09 | 49.49 | 116.17 | 214.62 | 167.41 | 97.15 |
| TOTAL | 596 | 37,133.10 | 2,195.96 | 3,874.62 | 3,882.71 | 4,771.17 | 4,449.06 |

*The values for FY 2011-12 are based on the actuals (provisional) for MSETCL.

As directed by the Commission vide its letter dated  19th July 2012 to present the Business Plan to the Standing Committee,  the Capital expenditure plan was  presented in the 9th meeting of the Standing Committee chaired by  Director (Operations), MSETCL and attended by  members from STU, MSETCL, RInfra-T, TPC-T, and Power Grid . The meeting was held on August 3, 2012. Hence, MSETCL would like to request the Hon’ble Commission to approve its Capex plan without any alterations.

# Technical Improvement Plan(TIP)

As part of the Capital Investment plan, it is proposed to bring technical innovation in the capital expenditure proposed for the period FY 2011-12 to FY 2015-16. The following Technical Innovation are proposed in the MSETCL Capex program:

- SCADA / Automation System

- Implementation of Life extension scheme (LES):

- Modernisation of Protection system:

- Proactive O&M practices:

  - Use of Modern Diagnostic Testing Equipments:

  - Use of Hot-line Maintenance Techniques:

- MSETCL has started implementing GIS based substations in urban areas.

- MSETCL proposes EHV underground cabling as an alternative to overhead transmission lines.

- For EHT lines of voltages more than or equal to 400kV lines, MSETCL now uses quadruple conductor (instead of twin conductor used earlier) to enhance the power handling capacity up to double.

- With the adoption of standardization of 400kV ICTs as 500MVA (3x167MVA), against the earlier capacity of 315 MVA (3x105MVA) per bank. The transformation capacity is proposed to be increased by about 60%.

- MSETCL is using Power Line Carrier Communication (PLCC) for data

# New measures in O&M practice

New techniques & technologies are being adopted to cope-up with the technological developments in the field of power sector.

- Adoption of concept of Predictive Maintenance practices

- Hot Line Maintenance works & practices

- Modernization of Protection Schemes & providing BCU based Substation Automation System

- Implementation of SMARTGRID Pilot Project

# Establishment of comprehensive communication network using OPGW

MSETCL board of directors vide BR No. 68/9 dated November 23,2011 selected M/s Sterlite Technologies Limited as partners for JV for establishment of Comprehensive communication network using Optic Power Ground Wire (OPGW) for MSETCL. Subsequently, LoA was issued to them on December 12, 2011. Government of Maharashtra vide letter No. JVP-2011/P. No. 314/Urja-4 dated March 20,2012 has accorded its approval for the project.

Scope of Work

Installation of 48 fibres Optic Power Ground Wire (OPGW) cable in Maharashtra with priority to cover MSETCL requirement as follows:

- OPGW to cover 2801 km routes for MSETCL

- Approach Cable to cover 100km routes for MSETCL

- SDH & MUX equipments 50 sets for MSETCL on priority

- Network Management System  to cover MSETCL requirement

The work shall be done by the JV company and the project is scheduled to be completed by March 2014.

# Financing of CIP and TIP

To Finance the capital expenditure, MSETCL will primarily depend on Long-Term borrowings from financial institutions. Approximately 20% of the capital expenditure projected in the control period has been planned to be funded through equity (including internal accruals) and the balance (about 80%) of the requirement has been planned to be funded by taking long-term loans. MSETCL proposes to arrange its fund requirement for all of its capital expenditure schemes through both domestic e.g. Power Finance Corporation Limited (PFC), Rural Electrification Company Limited (REC) and banks like Bank of Maharashtra (BOM), Union Bank of India (UBI) etc and foreign Financial Institutions  e.g., JICA, World Bank, ADB and IFC etc..

MSETCL arranges funds from local available banks. MSETCL being one of the government public sector utilities and having a good payment record fetches loan at a reasonable rate of interest.

MSETCL humbly informs that REC and PFC would be major financial institutions that would be approached for raising funds.

# Projection of Expenses for 2nd Control Period

# Operation & Maintenance (O&M) Expenses

# O&M Expenses for FY 2011-12 and FY 2012-13

The Commission has considered inflation rates on the basis of WPI and CPI index for the purpose of estimation of O&M Expenses during FY 2011-12 and FY 2012-13, in its Order in Case No. 169 of 2011.On similar lines, MSETCL has  projected the Net O&M Expenses for FY 2011-12 and FY 2012-13 by applying inflation index on the Net O&M Expenses(audited) for FY 2010-11.

For the purpose of computation of appropriate inflation index, MSETCL has calculated three years point to point inflation on the basis of past data available in public domain. MSETCL is of the view that consideration of three year period reasonably incorporates the recent trend in the movement of the inflation indices, and is sufficient to forecast the movement in future.

The inflation indices applied on the net O&M Expenses for FY 2010-11 (audited figure), therefore provides the estimates of net O&M Expenses for FY 2011-12 and FY 2012-13 as under:

Table 5: Net O&M Expenses calculated on the basis of inflation factor (Rs. Crore)

| S. No | Particulars | FY 2010-11 | FY 2011-12 | FY 2012-13 |
| --- | --- | --- | --- | --- |
| 1 | Employee Expenses (net of capitalisation) | 521.24 | 572.71 | 624.14 |
| 2 | A&G Expenses (net of capitalisation | 130.60 | 143.74 | 158.20 |
| 3 | R&M Expenses (net of capitalisation) | 287.00 | 317.94 | 352.21 |
| 4 | Total O&M Expenses (net of capitalisation) | 938.84 | 1,034.38 | 1,134.54 |

*The above values do not include the impact of deferred O&M Expenses.

# O&M Expenses from FY 2013-14 to FY 2015-16

The MERC MYT Regulations, 2011 stipulates the following in respect to allowance of normative O&M Expenses for existing stations:

“ 61.5 Operation and Maintenance Expenses

…

…

61.6 Existing Transmission Licensee

| Voltage Level | Second Control Period |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | FY 2011-12 | FY 2012-13 | FY 2013-14 | FY 2014-15 | FY 2015-16 |
| For Transmission lines as Rs Lakh/ckt km |  |  |  |  |  |
| HVDC | 1492 | 1577 | 1667 | 1763 | 1863 |
| 765 kV | 0.74 | 0.78 | 0.83 | 0.88 | 0.93 |
| 400 kV | 0.53 | 0.56 | 0.59 | 0.63 | 0.66 |
| >66 kV & <400 kV | 0.21 | 0.22 | 0.24 | 0.25 | 0.26 |
| 66 kV and less | 0.13 | 0.14 | 0.14 | 0.15 | 0.16 |
| For Transmission Bays as Rs Lakh/bay |  |  |  |  |  |
| 765 kV | 131.24 | 138.75 | 146.68 | 155.07 | 163.94 |
| 400 kV | 93.75 | 99.11 | 104.78 | 110.78 | 117.11 |
| >66 kV & <400 kV | 13.59 | 14.36 | 15.19 | 16.06 | 16.97 |
| 66 kV and less | 2.84 | 3 | 3.17 | 3.36 | 3.55 |

MSETCL would like to submit that though the methodology adopted by the Hon’ble Commission for proposing the O&M Expenses norms were justified enough to capture the actual O&M Costs of MSETCL.  However the norms specified, in the final Regulations did not capture the same. In addition to this, neither MSETCL was asked to submit any information nor there had been any consultation with MSETCL to fix the norms.

During the period FY 2006 to FY 2011, there has been an increase of 48% in the Transformation capacity of the MSETCL network. There has been significant increase in the overall asset size of MSETCL. The approach of the Hon’ble Commission of using the 2006 as the Base Year, failed to address the significant increase in the O&M expenses on account of substantial increase in the asset size of MSETCL.

MSETCL further submits that the norms provided in the MYT Regulations 2011, are insufficient to capture the escalation desired to compensate for the rising WPI and CPI indices. Additionally, during erstwhile MSEB era, the R&M Expenses were on a lower side. Hence, it is imperative to use the current level of O&M expenses in specifying the norms for FY 2013 to FY 2016.

Not only this, MSETCL is operating the oldest network of transmission assets in the State of Maharashtra and most of the equipment at various voltage levels have already crossed their useful life. MSETCL submits that R& M Expenses allowed by the Hon’ble Commission are not reflecting the R&M expenses requirement of Petitioner for last many years. The higher R&M expenses are mainly attributable to vintage of asset base and rise in Transmission Assets.

MERC (MYT) Regulations 2011, also provide O&M Norms for RInfra-T and TPC-T. There exists  a vast difference in the norms approve for MSETCL vis-à-vis, the norms approved for TPC-T and RInfra-T.

Apart from the above, the wage agreement which is done in every 5 years is also required to be covered as it is an uncontrollable factor and is not captured in inflation factor. This impact is also not included in the O&M norms provided by MYT Regulations 2011.

MSETCL humbly request the Hon’ble Commission to kindly review the norms specified in the MERC (MYT) Regulation, 2011 to address the gap between the normative and expected O&M expenses for the second control period.  However, without prejudice to its submissions MSETCL has considered the normative O&M Expenses for FY 13-14 to FY 15-16

In addition to this MSETCL shall also claim deferred payments of previous years that would be payable in FY 11-12 and FY 12- 13.Thus, the O&M expense for the period FY 11-12 to FY 15-16, considered while computing the ARR is as given below:

Table 6: Projection of O&M Expenses (in Rs. Crore)

| Particular | FY 2011-12 | FY 2012-13 | FY 2013-14 | FY 2014-15 | FY 2015-16 |
| --- | --- | --- | --- | --- | --- |
| O&M Expenses | 1,034.38 | 1,134.54 | 1,339.02 | 1,538.90 | 1,824.46 |
| Other claims | 41.47 | 41.47 |  |  |  |
| Total | 1,075.85 | 1,176.01 | 1,339.02 | 1,538.90 | 1,824.46 |

# Interest & finance Charges

Debt-Equity Ratio: MSETCL has proposed to funds its capex requirement through debt: equity ratio of 80:20.

Sources of Loan: MSETCL has first considered its existing loan agreements from LIC, JICA, IFC, Bank of Maharashtra and Oriental Bank of Commerce. The balance funding requirement is assumed to be come through loans from REC and PFC in the ratio of 80:20 to meet its debt requirement.

Table 7: Estimated Loan Drawl (Rs. Crore)

| S. No | Particulars | FY 12 | FY 13 | FY 14 | FY 15 | FY 16 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Capital Expenditure | 2,411.59 | 4,895.00 | 4,671.90 | 4,684.53 | 3,532.45 |
| 2 | Capitalisation | 2,195.96 | 3,874.62 | 3,882.71 | 4,771.17 | 4,449.06 |
| 3 | Loan Drawl | 2,041.12 | 3,916.00 | 3,737.52 | 3,747.62 | 2,825.96 |

*The numbers for FY 2011-12 are provisional and subject to revisions

Rate of Interest: The existing rate of interest of 12.25% on PFC and REC Loans has been considered for calculation of interest expenses. For other agencies, the detailed drawl, repayment schedule, and interest rates are provided in form-6.

Reduction of Interest expenses pertaining to retirement of Assets: MSETCL has considered 80% of the total assets retired during the respective year for reduction of loan amount during that particular year. MSETCL has further applied a rate of 12.25% for calculation of the amount of interest expenses on account of reduction in loans during respective years.

As regards capitalization of interest expenses, MSETCL has considered the rate of 11.5% of Closing Work-in-progress of respective years. After accounting for the capitalization of interest expenses and considering other interest and finance charges, projected total interest and finance charge obligation for the above-mentioned period for MSETCL will be as below:

Table 8: Projection of Interest and Financing Charges (amount in Rs. Crore)

| Particulars | FY 2011-12 | FY 2012-13 | FY 2013-14 | FY 2014-15 | FY 2015-16 |
| --- | --- | --- | --- | --- | --- |
| Net Interest Expenses (after capitalisation) | 353.71 | 512.66 | 782.65 | 1106.45 | 1423.27 |
| Other Interest and Finance Expenses | 15.90 | 22.58 | 21.84 | 22.05 | 17.60 |
| Total Interest & Finance Charges | 369.60 | 535.24 | 804.49 | 1128.49 | 1440.87 |

In case of other interest and finance charges for FY 2011-12 and FY 2012-13, MSETCL has considered the Guarantee and Finance Charges as approved by the Hon’ble Commission in its Order dated May 18, 2012. From FY 2013-14 to FY 2015-16, MSETCL has considered 5% increase in Guarantee charges over the Guarantee charges approved by the Hon’ble Commission for FY 2012-13 in its Order dated May 18, 2012. MSETCL has considered finance charges from FY 2013-14 to FY 2015-16 as 0.5% of the new loans drawn during respective years as per the methodology adopted by the Hon’ble Commission in Order dated May 18, 2012.

# Assets and Depreciation

MSETCL maintains the assets wise classification and the depreciation for FY 2011-12 and FY 2012-13 has been computed by application of depreciation rates as given in Schedule of MERC Tariff Regulations, 2005. MSETCL has further computed the depreciation for the 2nd Control period by considering the depreciation rates as provided in the MERC (MYT) Regulations 2011.

The Hon’ble Commission has linked the amount of repayment to the depreciation allowed for the year. In addition to the above, the provision of Advance against depreciation has been removed by revising the depreciation rates.

MSETCL submits the Hon’ble Commission that it has planned to fund its capital expenditure requirement through 80% debt over the second control period. The concept of AAD in CERC Tariff Regulations, 2004 was linked to the loan repayment. The main philosophy behind the concept of AAD was the bridge the gap between the repayment of loan and depreciation in respective year.

MSETCL understands that the Commission has introduced higher depreciation rates for calculation of depreciation leading to higher repayment ability. However, the depreciation rates specified by the Commission remain same in each case irrespective of the funding pattern of the Utility. MSETCL is meeting 80% of capital expenditure requirement through loans. Therefore the depreciation of MSETCL will always be lesser than the actual repayment requirement of loans.

MSETCL does not have any other revenue source except the transmission tariff; the disallowance of AAD therefore, will result into erosion of equity/RoE of MSETCL. Otherwise, MSETCL will not be able to meet its repayment obligation which will adversely impact the image of MSETCL.

Therefore MSETCL prays to the Hon’ble Commission to  not to restrict the approval of repayment for the year to the extent of depreciation claimed for the year and instead it should allow MSETCL to claim the excess of actual repayment made during the year over the depreciation for the year to be claimed as Advance Against Depreciation.

As an alternative, the Hon’ble Commission may approve the same depreciation rates, without provision of AAD. However, it may allow a Return of 15.5% (RoE) on balance 10% of its funding, considered as normative equity. The approach shall also be consistent with the fact that the depreciation rates in MYT Regulations 2011, has been arrived at after considering a debt: equity ratio of 70:30, whereas MSETCL funds its Capex through a debt equity ratio of 80:20.

# Interest on Working Capital and Consumer security deposit

MSETCL has computed the working capital requirement based on the normative parameters prescribed in the MERC (MYT) Regulations, 2011. The Indian economy is witnessing spiraling inflation and as a result, the interest rate cycle has firmed up, with a result that banks have raised their Prime Lending Rates. MSETCL has considered the current short term SBI PLR of 14.75% for the purpose of computation of Interest on working capital.  The Commission has also considered the same rate for computation of interest on working capital in its Order in Case no. 169 of 2011.

# Return on Equity

MSETCL submits that considering 20% equity contribution for the capitalisation proposed for the period FY 2011-12 to FY 2015-16, it has claimed RoE for FY 2011-12 and FY 2012-13 as per MERC Tariff Regulations, 2005 and from FY 2013-14 to FY 2015-16 as provided in the MERC (MYT) Regulations, 2011.

However, MSETCL prays to the Hon’ble Commission to allow pre-tax RoE in line with CERC (Terms and Conditions of Tariff) Regulations 2009-14.

# Other Expenses

# Other expense

MSETCL has considered a nominal increase of 2% based on estimate of other expense likely to be incurred in FY 11-12. The prior period adjustments and loss on exchange rate variation has not been considered for future period.

# Contingency Reserves

Considering the 0.25% of the opening gross block as contingency reserves for MSETCL as provided in the MERC (MYT) Regulations, 2011.

# Income tax

In accordance with MERC Tariff Regulations, 2005, MSETCL has claimed Income Tax as a part of ARR for FY 2011-12 and FY 2012-13. From FY 2013-14 onwards MSETCL has claimed Income Tax separately outside the ARR in accordance with MERC MYT Regulations, 2011.

# Non tariff Income

MSETCL has considered a nominal increase of 2% for NTI components other than interest income based on estimates of in FY 11-12. For the purpose of estimation of interest income on contingency reserves, it has considered an average interest rate of 8% (Governmnent securities) on the forecasted balance of Contingency reserves for various years. For interest on other investments, it has maintained the expected interest income for FY 2011-12, over the entire control period, as future investments are likely to be made in Government Securities.

# Income from wheeling received from Goa State

MSETCL has not considered any increase on the income received from in FY 10-11 due to wheeling of power by Goa state.

# Revenue Gap for FY 2011-12

Hon’ble commission, vide its Order in Case No. 169 of 2011, dated May 18, 2012;  has approved an ARR of Rs 2,485.58 Cr for FY 2011-12, and estimated revenue of Rs 2,264.28 Cr for the year. The approved Revenue gap for FY 2011-12 was Rs 221.3Cr and the Cumulative revenue gap till FY 2011-12 was approved at Rs 759.55Cr.

However, the provisional Revenue gap for FY 2011-12 comes out to be Rs 595.37 Cr and the Cumulative revenue gap till FY 2011-12 works out to Rs 1133.62 Cr. The same has been tabulated as below:

Table 9: Cumulative Revenue Gap (Rs Crore)

| FY 2011-12 |  |
| --- | --- |
| Particulars | Rs Crores |
| Net ARR | 2859.65 |
| Revenue from Transmission Tariff | 2264.28 |
| Stand Alone Gap for the year (Provisional) | (595.37) |
| Cumulative Gap till FY 2010-11 | (538.25) |
| Cumulative Gap till the year | (1133.62) |

Out of this cumulative revenue gap of MSETCL has considered the Commission approved gap of Rs 759.55 Cr in the ARR FY 2012-13, the balance amount of Rs 374.07 Cr has been carried forward to the ARR of FY 2013-14.

# Projection of Annual Revenue Requirement

Based on the discussion in the previous sections, the ARR estimates for the control period has been tabulated as under:

Table 10: Projection of ARR (Rs. Crore)

| S.No. | Particulars | Projected |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | FY 12 | FY 13 | FY 14 | FY 15 | FY 16 |
| 1 | Operation & Maintenance Expenses | 1,075.85 | 1,176.01 | 1,339.02 | 1,538.90 | 1,824.46 |
| 2 | Depreciation Expenses |  |  |  |  |  |
| a) | Depreciation | 467.47 | 553.31 | 1104.97 | 1318.63 | 1545.69 |
| b) | Advance against depreciation | 277.67 | 425.51 | 30.19 | 0.00 | 34.78 |
| 3 | Interest on Long-term Loan Capital | 353.71 | 512.66 | 782.65 | 1106.45 | 1423.27 |
| 4 | Interest on Working Capital and on consumer security deposits | 68.67 | 101.07 | 100.52 | 111.71 | 134.10 |
| 5 | Other Interest and finance charges | 15.90 | 22.58 | 21.84 | 22.05 | 17.60 |
| 6 | Other Expenses | 59.46 | 1.18 | 1.21 | 1.23 | 1.26 |
| 7 | Income Tax | 154.98 | 531.12 |  |  |  |
| 8 | Contribution to contingency reserves | 34.65 | 39.73 | 48.85 | 58.01 | 69.29 |
| 9 | Total Revenue Expenditure | 2,508.35 | 3,363.17 | 3,429.25 | 4,156.98 | 5,050.46 |
| 10 | Return on Equity Capital | 556.58 | 636.12 | 817.65 | 944.37 | 1078.44 |
| 11 | Aggregate Revenue Requirement | 3,064.93 | 3,999.29 | 4,246.90 | 5,101.35 | 6,128.90 |
| 12 | Less: Non Tariff Income | 184.75 | 191.09 | 198.06 | 205.83 | 214.49 |
| 13 | Less: Income from Goa wheeling charges | 20.52 | 20.52 | 20.52 | 20.52 | 20.52 |
| 14 | Recovery towards past gap |  | 759.55 | 374.07 |  |  |
| 15 | Aggregate Revenue Requirement from Transmission Tariff | 2859.65 | 4547.23 | 4402.39 | 4875.00 | 5893.89 |

MSETCL humbly requests the Hon’ble Commission to approve the above ARR for the business plan period for FY 11-12 to FY 15-16. The Income Tax liability for FY 14 to FY 16 is to be allowed additionally over the ARR for the respective years, as discussed in the next section.

# Income Tax for FY 2013-14 to FY 2015-16

Regulation-34 of MERC (MYT) Regulations 2011 provide for the treatment of Income-tax under a separate head and not as a part of ARR, MSETCL request the Commission to allow the Income-tax from FY 2013-14 to FY 2015-16 as tabulated below:

Table 11: Income Tax (Rs. Crore)

| Particulars | FY 2013-14 | FY 2014-15 | FY 2015-16 |
| --- | --- | --- | --- |
| Income Tax Liability | 269.63 | 217.69 | 257.69 |

The income tax expenses may kindly be reimbursed to MSETC on quarterly basis by the Hon’ble Commission, in addition to the Transmission Charges for the period covered under MYT Regulations 2011, i.e. FY 2013-14 to FY 2015-16.

# Scenario Analysis

The two major expenses heads that depends on changes in the environment under which MSETCL operates is the variation in O&M expense and the change in interest rates over the five year period. Considering the above ARR to be the Realistic scenario, MSETCL has attempted to make scenario projection of the change in the above two expense heads as Pessimistic scenario and Optimistic scenario as under:

# O&M expense

The O&M expense are subject to change in material cost, compensation to be paid to the employees based on the policies of the Government, change in structure of statutory taxes and duties decided by the Government and any other Government Policy. MSETCL has envisaged the following two scenarios:

- Pessimistic scenario – Wherein the O&M expense would increase by 10% over the amount estimated for the year.

- Optimistic scenario – Wherein the O&M expense would reduce by 5% over the 5-year period.

# Interest on Long term loans

The Interest on long term loans would vary depending on the interest rate on new loans to be availed over the five year period. MSETCL has envisaged the following two scenarios:

- Pessimistic scenario – Wherein the interest rate are expected to rise during the five year period. MSETCL has considered interest rate of 12.25% for FY 11-12 and 13% for the period FY 12-13 to 15-16 (for drawl from PFC and REC).

- Optimistic scenario – Wherein the interest rate are expected to rise during the five year period. MSETCL has considered interest rate of 12.25% for FY 11-12 and 11.25% for the period FY 12-13 to 15-16 (for drawl from PFC and REC).

# Comparison of ARR under the three scenario

Considering the remaining components of the ARR as projected under Realistic scenario to remain unchanged the other expense under the Realistic scenario would be:

Table 12: ARR items – Realistic

| Particulars | FY 12 | FY 13 | FY 14 | FY 15 | FY 16 |
| --- | --- | --- | --- | --- | --- |
| Depreciation expense | 467.47 | 553.31 | 1104.97 | 1318.63 | 1545.69 |
| AAD | 277.67 | 425.51 | 30.19 | 0.00 | 34.78 |
| IWC and Interest on consumer security deposit | 68.67 | 101.07 | 100.52 | 111.71 | 134.10 |
| Other interest and finance charges | 15.90 | 22.58 | 21.84 | 22.05 | 17.60 |
| Other expenses | 59.46 | 1.18 | 1.21 | 1.23 | 1.26 |
| Income tax | 154.98 | 531.12 |  |  |  |
| Contribution to contingeny reserve | 34.65 | 39.73 | 48.85 | 58.01 | 69.29 |
| RoE | 556.58 | 636.12 | 817.65 | 944.37 | 1078.44 |
| (less) Income from Goa wheeling and non-tariff income | 20.52 | 20.52 | 20.52 | 20.52 | 20.52 |
| Other Expenditure | 1430.09 | 2099.02 | 1906.65 | 2229.65 | 2646.16 |

With the above scenario projection of O&M expense, Interest on long term loan and without considering change in any other expense heads of ARR as considered under the Realistic scenario, the ARR under the three scenarios would be as under:

Table 13: Scenario Analysis –ARR items (Without Past gap recovery)

| Optimistic scenario | FY 12 | FY 13 | FY 14 | FY 15 | FY 16 |
| --- | --- | --- | --- | --- | --- |
| O&M expense | 1,024.13 | 1,119.28 | 1,272.07 | 1,461.96 | 1,733.24 |
| Interest expense | 302.90 | 442.93 | 684.98 | 982.89 | 1,280.71 |
| Gross expense | 2,757.12 | 3,661.23 | 3,863.69 | 4,674.50 | 5,660.11 |
| Pessimsitic scenario | FY 12 | FY 13 | FY 14 | FY 15 | FY 16 |
| O&M expense | 1,179.29 | 1,289.46 | 1,472.92 | 1,692.79 | 2,006.91 |
| Interest expense | 391.81 | 564.95 | 855.91 | 1,199.11 | 1,530.19 |
| Gross expense | 3,001.20 | 3,953.43 | 4,235.48 | 5,121.55 | 6,183.25 |
| Realistic | FY 12 | FY 13 | FY 14 | FY 15 | FY 16 |
| O&M expense | 1,075.85 | 1,176.01 | 1,339.02 | 1,538.90 | 1,824.46 |
| Interest expense | 353.71 | 512.66 | 782.65 | 1,106.45 | 1,423.27 |
| Gross expense | 2,859.65 | 3,787.68 | 4,028.32 | 4,875.00 | 5,893.89 |

It can be observed from above that the ARR estimate under the Optimistic scenario is least and the ARR estimate under the Pessimistic scenario is the highest among the three scenarios.

# Performance Indices

# Availability of Transmission System

MSETCL submits that as per the quality objectives, it is endeavour to maintain the availability of transmission system more than 98% for HVAC, more than 92% for HVDC bi pole links and more than 95% for HVDC back-to-back stations throughout the year for the period FY 2011-12 to FY 2015-16.

# Transmission Losses

MSETCL submits that the transmission losses in the transmission network depends upon various factors such as shift of load centers, energy injection and drawl in to the network and the extent of inherent technical loss pertaining to the transmission equipments in use. Further, in current scenario the load is present on the western side, whereas the generation is predominantly on the eastern side, and the situation is likely to continue in future, therefore restricting the scope of reduction in Transmission Losses. MSETCL continuously strives to reduce the technical losses in the system and proposes to achieve the transmission losses in the system at the level of 4.85% for the period from FY 2011-12 to FY 2015-16.